        - :ANALyzer Commands

:ANALyzer:ANALyze

:ANALyzer:CURRTime

:ANALyzer:ENDTime

:ANALyzer:FILE?

:ANALyzer:MEMory

:ANALyzer:MMEMory

:ANALyzer:OBJect

:ANALyzer:RESult?

:ANALyzer:STARTTime

:ANALyzer:VALue?

        - :APPLy Command

:APPLy

        - :DELAY Commands

:DELAY:CYCLEs

:DELAY:ENDState

:DELAY:GROUPs

:DELAY:PARAmeter

:DELAY[:STATe]

:DELAY:STATe:GEN

:DELAY:STOP

:DELAY:TIME:GEN

        - :DISPlay Commands

:DISPlay:MODE

:DISPlay[:WINDow][:STATe]

:DISPlay[:WINDow]:TEXT:CLEar

:DISPlay[:WINDow]:TEXT[:DATA]

        - IEEE488.2 Common Commands

*CLS

*ESE

*ESR?

*IDN?

*OPC

*OPT?

*PSC

*RCL

*RST

*SAV

*SRE

*STB?

*TRG

*TST?

*WAI

- :INITiate Command

:INITiate

- :INSTrument Commands

:INSTrument:COUPle[:TRIGger]

:INSTrument:NSELect

:INSTrument[:SELEct]

:INSTrument[:SELect]

- :LIC Command

:LIC:SET

- :MEASure Commands

:MEASure:ALL[:DC]?

:MEASure:CURRent[:DC]?

:MEASure:POWEr[:DC]?

:MEASure[:VOLTage][:DC]?

- :MEMory Commands

:MEMory[:STATe]:DELete

:MEMory[:STATe]:LOAD

:MEMory[:STATe]:LOCK

:MEMory[:STATe]:STORe

:MEMory[:STATe]:VALid?

- :MMEMory Commands

:MMEMory:CATalog?

:MMEMory:CDIRectory

:MMEMory:DELete

:MMEMory:DISK?

:MMEMory:LOAD

:MMEMory:MDIRectory

:MMEMory:STORe

- :MONItor Commands

:MONItor:CURRent:CONDition

:MONItor:CURRent[:VALue]

:MONItor:POWER:CONDition

:MONItor:POWER[:VALue]

:MONItor[:STATe]

:MONItor:STOPway

:MONItor:VOLTage:CONDition

:MONItor:VOLTage[:VALue]

  - :OUTPut Commands

:OUTPut:CVCC?

:OUTPut:MODE?

:OUTPut:OCP:ALAR?

:OUTPut:OCP:QUES?

:OUTPut:OCP:CLEAR

:OUTPut:OCP[:STATe]

:OUTPut:OCP:VALue

:OUTPut:OVP:ALAR?

:OUTPut:OVP:QUES?

:OUTPut:OVP:CLEAR

:OUTPut:OVP[:STATe]

:OUTPut:OVP:VALue

:OUTPut:RANGe

:OUTPut:SENSe

:OUTPut[:STATe]

:OUTPut:TIMEr

:OUTPut:TIMEr:STATe

:OUTPut:TRACk

  - :PRESet Commands

:PRESet[:APPLy]

:PRESet:KEY

:PRESet:USER[<n>]:SET:CURRent

:PRESet:USER[<n>]:SET:DEFault

:PRESet:USER[<n>]:SET:OCP

:PRESet:USER[<n>]:SET:OTP

:PRESet:USER[<n>]:SET:OVP

:PRESet:USER[<n>]:SET:SURE

:PRESet:USER[<n>]:SET:TRACk

:PRESet:USER[<n>]:SET:VOLTage

  - :RECAll Commands

:RECAll:LOCal

:RECAll:EXTErnal

- :RECorder Commands

:RECorder:DESTination?

:RECorder:MEMory

:RECorder:MMEMory

:RECorder:PERIod

:RECorder[:STATe]

- :SOURce Commands

[:SOURce[<n>]]:CURRent[:LEVel][:IMMediate][:AMPLitude] [:SOURce[<n>]]:CURRent[:LEVel][:IMMediate]:STEP[:INCRement] [:SOURce[<n>]]:CURRent[:LEVel]:TRIGgered[:AMPLitude] [:SOURce[<n>]]:CURRent:PROTection:CLEar [:SOURce[<n>]]:CURRent:PROTection[:LEVel] [:SOURce[<n>]]:CURRent:PROTection:STATe [:SOURce[<n>]]:CURRent:PROTection:TRIPped? [:SOURce[<n>]]:VOLTage[:LEVel][:IMMediate][:AMPLitude] [:SOURce[<n>]]:VOLTage[:LEVel][:IMMediate]:STEP[:INCRement] [:SOURce[<n>]]:VOLTage[:LEVel]:TRIGgered[:AMPLitude] [:SOURce[<n>]]:VOLTage:PROTection:CLEar [:SOURce[<n>]]:VOLTage:PROTection[:LEVel] [:SOURce[<n>]]:VOLTage:PROTection:STATe [:SOURce[<n>]]:VOLTage:PROTection:TRIPped? [:SOURce[<n>]]:VOLTage:RANGe

- :STATus Commands

:STATus:QUEStionable:CONDition?

:STATus:QUEStionable:ENABle

:STATus:QUEStionable[:EVENt]?

:STATus:QUEStionable:INSTrument:ENABle

:STATus:QUEStionable:INSTrument[:EVENt]?

:STATus:QUEStionable:INSTrument:ISUMmary[<n>]:COND?

:STATus:QUEStionable:INSTrument:ISUMmary[<n>]:ENABle

:STATus:QUEStionable:INSTrument:ISUMmary[<n>][:EVENt]?

- :STORe Commands

:STORe:LOCal

:STORe:EXTErnal

- :SYSTem Commands

:SYSTem:BEEPer:IMMediate

:SYSTem:BEEPer[:STATe]

:SYSTem:BRIGhtness

:SYSTem:COMMunicate:GPIB:ADDRess

:SYSTem:COMMunicate:LAN:APPLy

:SYSTem:COMMunicate:LAN:AUTOip[:STATe]

:SYSTem:COMMunicate:LAN:DHCP[:STATe]

:SYSTem:COMMunicate:LAN:DNS

:SYSTem:COMMunicate:LAN:GATEway

:SYSTem:COMMunicate:LAN:IPADdress

:SYSTem:COMMunicate:LAN:MAC?

:SYSTem:COMMunicate:LAN:MANualip[:STATe]

:SYSTem:COMMunicate:LAN:SMASK

:SYSTem:COMMunicate:RS232:BAUD

:SYSTem:COMMunicate:RS232:DATABit

:SYSTem:COMMunicate:RS232:FLOWCrl

:SYSTem:COMMunicate:RS232:PARItybit

:SYSTem:COMMunicate:RS232:STOPBit

:SYSTem:CONTrast

:SYSTem:ERRor?

:SYSTem:KLOCk

:SYSTem:KLOCk:STATe

:SYSTem:LANGuage:TYPE

:SYSTem:LOCal

:SYSTem:LOCK

:SYSTem:ONOFFSync

:SYSTem:OTP

:SYSTem:POWEron

:SYSTem:REMote

:SYSTem:RGBBrightness

:SYSTem:RWLock

:SYSTem:SAVer

:SYSTem:SELF:TEST:BOARD?

:SYSTem:SELF:TEST:FAN?

:SYSTem:SELF:TEST:TEMP?

:SYSTem:TRACKMode

:SYSTem:VERSion?

  - :TIMEr Commands

:TIMEr:CYCLEs

:TIMEr:ENDState

:TIMEr:GROUPs

:TIMEr:PARAmeter

:TIMEr[:STATe]

:TIMEr:TEMPlet:CONSTruct

:TIMEr:TEMPlet:FALLRate

:TIMEr:TEMPlet:INTErval

:TIMEr:TEMPlet:INVErt

:TIMEr:TEMPlet:MAXValue

:TIMEr:TEMPlet:MINValue

:TIMEr:TEMPlet:OBJect

:TIMEr:TEMPlet:PERIod

:TIMEr:TEMPlet:POINTs

:TIMEr:TEMPlet:RISERate

:TIMEr:TEMPlet:SELect

:TIMEr:TEMPlet:SYMMetry

:TIMEr:TEMPlet:WIDTh

- :TRIGger Commands

:TRIGger:IN:CHTYpe

:TRIGger:IN:CURRent

:TRIGger:IN[:ENABle]

:TRIGger:IN:IMMEdiate

:TRIGger:IN:RESPonse

:TRIGger:IN:SENSitivity

:TRIGger:IN:SOURce

:TRIGger:IN:TYPE

:TRIGger:IN:VOLTage

:TRIGger:OUT:CONDition

:TRIGger:OUT:DUTY

:TRIGger:OUT[:ENABle]

:TRIGger:OUT:PERIod

:TRIGger:OUT:POLArity

:TRIGger:OUT:SIGNal

:TRIGger:OUT:SOURce

:TRIGger[:SEQuence]:DELay

:TRIGger[:SEQuence]:SOURce