[SENSe:]CDLL:ADD

[SENSe:]CDLL:LIST:TASK?.

[SENSe:]CDLL:LIST?.

[SENSe:]CDLL:REMove

[SENSe:]CORRection:CKIT:<ConnType>:LSELect.

[SENSe:]CORRection:CKIT:<ConnType>:SELect.

[SENSe:]CORRection:CKIT:<OnePortStandardType>:WLABel:SDATa?.

[SENSe:]CORRection:CKIT:<StandardType>

[SENSe:]CORRection:CKIT:<StandardType>:WLABel.

[SENSe:]CORRection:CKIT:<TwoPortStandard>:WLABel:SDATa?.

[SENSe:]CORRection:CKIT:CATalog?

[SENSe:]CORRection:CKIT:DELete

[SENSe:]CORRection:CKIT:DMODe

[SENSe:]CORRection:CKIT:INSTall

[SENSe:]CORRection:CKIT:LABel

[SENSe:]CORRection:CKIT:LCATalog?

[SENSe:]CORRection:CKIT:LDELete

[SENSe:]CORRection:CKIT:LLABel

[SENSe:]CORRection:CKIT:LSELect

[SENSe:]CORRection:CKIT:SELect.

[SENSe:]CORRection:CKIT:STANdard:CATalog?

[SENSe:]CORRection:CKIT:STANdard:DATA?.

[SENSe:]CORRection:CKIT:STANdard:LCATalog?

[SENSe:]CORRection:COLLect:AUTO:CKIT.

[SENSe:]CORRection:COLLect:AUTO:CKIT:PASSword.

[SENSe:]CORRection:COLLect:AUTO:CKIT:PORTs.

[SENSe:]CORRection:COLLect:AUTO:CKIT:PORTs:ADD.

[SENSe:]CORRection:COLLect:AUTO:MCONnect.

[SENSe:]CORRection:COLLect:AUTO:PORTs:CONNection?

[SENSe:]CORRection:COLLect:AVERage

[SENSe:]CORRection:COLLect:CHANnels:ALL

[SENSe:]CORRection:COLLect:CHANnels:MCTYpes.

[SENSe:]CORRection:COLLect:FIXTure:LMParameter:LOSS[:STATe].

[SENSe:]CORRection:COLLect:FIXTure:LMParameter[:STATe].

[SENSe:]CORRection:COLLect:PMETer:ID.

[SENSe:]CORRection:EDELay:VNETwork.

[SENSe:]CORRection:METas:CABLe:CATalog?.

[SENSe:]ROSCillator:EXTernal:FREQuency.

[SENSe:]SWEep:COUNt:ALL.

[SENSe:]UDSParams:ACTive.

[SENSe:]UDSParams<Pt>:PARam.

[SENSe<Ch>:]AVERage:CLEar

[SENSe<Ch>:]AVERage:COUNt.

[SENSe<Ch>:]AVERage:MODE.

[SENSe<Ch>:]AVERage[:STATe]

[SENSe<Ch>:]BANDwidth[:RESolution].

[SENSe<Ch>:]BANDwidth[:RESolution]:SELect.

[SENSe<Ch>:]BWIDth[:RESolution].

[SENSe<Ch>:]BWIDth[:RESolution]:SELect.

[SENSe<Ch>:]CDLL:PERManent:ADDitional

[SENSe<Ch>:]CDLL:PERManent:TASK.

[SENSe<Ch>:]CDLL:PERManent[:STATe]

[SENSe<Ch>:]CDLL:TASK:ADDRess

[SENSe<Ch>:]CDLL[:STATe].

[SENSe<Ch>:]CORRection:CDATa.

[SENSe<Ch>:]CORRection:CDATa:PORT<PhyPt>.

[SENSe<Ch>:]CORRection:CKIT:<ConnType>:<StandardType>.

[SENSe<Ch>:]CORRection:COLLect:AUTO.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:ALL:COUNt?.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:COUNt?.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DEFine:DEFault.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DEFine:TPORt:DEFault.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DELete:ALL.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:ACQuire.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:DEFine.

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:DEFine:TPORt.

[SENSe<Ch>:]CORRection:COLLect:AUTO:CONFigure

[SENSe<Ch>:]CORRection:COLLect:AUTO:CPORt.

[SENSe<Ch>:]CORRection:COLLect:AUTO:PORTs

[SENSe<Ch>:]CORRection:COLLect:AUTO:PORTs:TYPE.

[SENSe<Ch>:]CORRection:COLLect:AUTO:POWer.

[SENSe<Ch>:]CORRection:COLLect:AUTO:REPeat

[SENSe<Ch>:]CORRection:COLLect:AUTO:SAVE.

[SENSe<Ch>:]CORRection:COLLect:AUTO:TEMPcomp

[SENSe<Ch>:]CORRection:COLLect:AUTO:TYPE.

[SENSe<Ch>:]CORRection:COLLect:AUTO:UTHRough

[SENSe<Ch>:]CORRection:COLLect:CKIT:INSTall.

[SENSe<Ch>:]CORRection:COLLect:CKIT:LOAD.

[SENSe<Ch>:]CORRection:COLLect:CKIT:PORT<PhyPt>?.

[SENSe<Ch>:]CORRection:COLLect:CONNection:GENDers.

[SENSe<Ch>:]CORRection:COLLect:CONNection:PORTs

[SENSe<Ch>:]CORRection:COLLect:CONNection<PhyPt>

[SENSe<Ch>:]CORRection:COLLect:DELete.

[SENSe<Ch>:]CORRection:COLLect:DETector.

[SENSe<Ch>:]CORRection:COLLect:DISCard.

[SENSe<Ch>:]CORRection:COLLect:FIXTure:EXPort.

[SENSe<Ch>:]CORRection:COLLect:FIXTure:IMPort.

[SENSe<Ch>:]CORRection:COLLect:FIXTure:SAVE.

[SENSe<Ch>:]CORRection:COLLect:FIXTure:STARt.

[SENSe<Ch>:]CORRection:COLLect:FIXTure[:ACQuire]

[SENSe<Ch>:]CORRection:COLLect:LOAD:SELected.

[SENSe<Ch>:]CORRection:COLLect:METHod.

[SENSe<Ch>:]CORRection:COLLect:METHod:DEFine

[SENSe<Ch>:]CORRection:COLLect:SAVE:DEFault.

[SENSe<Ch>:]CORRection:COLLect:SAVE:SELected:DEFault.

[SENSe<Ch>:]CORRection:COLLect:SAVE:SELected[:DUMMy].

[SENSe<Ch>:]CORRection:COLLect:SAVE[:DUMMy]

[SENSe<Ch>:]CORRection:COLLect:SCONnection<PhyPt>

[SENSe<Ch>:]CORRection:COLLect[:ACQuire].

[SENSe<Ch>:]CORRection:COLLect[:ACQuire]:SELected.

[SENSe<Ch>:]CORRection:CONNection.

[SENSe<Ch>:]CORRection:CONNection:CATalog?

[SENSe<Ch>:]CORRection:CONNection:DELete

[SENSe<Ch>:]CORRection:DATA.

[SENSe<Ch>:]CORRection:DATA:PARameter:COUNt?.

[SENSe<Ch>:]CORRection:DATA:PARameter<Sfk>:PORT<PhyPt>?.

[SENSe<Ch>:]CORRection:DATA:PARameter<Sfk>?.

[SENSe<Ch>:]CORRection:DATE?

[SENSe<Ch>:]CORRection:DELete.

[SENSe<Ch>:]CORRection:EDELay:AUTO.

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:DIELectric.

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:DISTance.

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:ELENgth.

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:VELocity.

[SENSe<Ch>:]CORRection:EDELay<PhyPt>[:TIME]

[SENSe<Ch>:]CORRection:LOSS:AUTO.

[SENSe<Ch>:]CORRection:LOSS<PhyPt>.

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:FREQuency

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:OFFSet.

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:SECond

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:SECond:FREQuency.

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:SECond:STATe

[SENSe<Ch>:]CORRection:METas:CABLe:MOVement.

[SENSe<Ch>:]CORRection:METas:CABLe:REConnection

[SENSe<Ch>:]CORRection:METas:CABLe:TYPE.

[SENSe<Ch>:]CORRection:METas:UNCertainty

[SENSe<Ch>:]CORRection:METas[:STATe].

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>:COMPensation[:STATe].

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>:DFComp[:STATe]?.

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>:MAGNitude.

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>[:STATe]

[SENSe<Ch>:]CORRection:PCAL.

[SENSe<Ch>:]CORRection:POWer:DATA.

[SENSe<Ch>:]CORRection:POWer:DATA:PORT<PhyPt>

[SENSe<Ch>:]CORRection:POWer<PhyPt>:ACQuire

[SENSe<Ch>:]CORRection:POWer<PhyPt>:AWAVe[:STATe].

[SENSe<Ch>:]CORRection:POWer<PhyPt>:IMODulation:ACQuire.

[SENSe<Ch>:]CORRection:POWer<PhyPt>[:STATe].

[SENSe<Ch>:]CORRection:SMATrix:CDATa

[SENSe<Ch>:]CORRection:SMATrix:CDATa:PORT<PhyPt>.

[SENSe<Ch>:]CORRection:STIMulus:PORT<PhyPt>?.

[SENSe<Ch>:]CORRection:STIMulus?.

[SENSe<Ch>:]CORRection[:STATe].

[SENSe<Ch>:]COUPle

[SENSe<Ch>:]DC<DCInp>:RANGe.

[SENSe<Ch>:]FREQuency:CENTer

[SENSe<Ch>:]FREQuency:CONVersion

[SENSe<Ch>:]FREQuency:CONVersion:ARBitrary.

[SENSe<Ch>:]FREQuency:CONVersion:ARBitrary:PMETer<Pmtr>.

[SENSe<Ch>:]FREQuency:CONVersion:GAIN:LMCorrection

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:FIXed<Stg>.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:FUNDamental

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:IFFixed.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:IFPort.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:LOFixed

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:LOMultiplier<Stg>.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:LOPort<Stg>

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:MFFixed.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:RFFixed.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:RFMultiplier

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:RFPort.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:STAGes.

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:TFRequency<Stg>.

[SENSe<Ch>:]FREQuency:FIXed.

[SENSe<Ch>:]FREQuency:IMODulation:CONVersion.

[SENSe<Ch>:]FREQuency:IMODulation:LTONe

[SENSe<Ch>:]FREQuency:IMODulation:ORDer<Im>[:STATe].

[SENSe<Ch>:]FREQuency:IMODulation:RECeiver

[SENSe<Ch>:]FREQuency:IMODulation:SPECtrum:MORDer.

[SENSe<Ch>:]FREQuency:IMODulation:SPECtrum[:STATe].

[SENSe<Ch>:]FREQuency:IMODulation:TDIStance.

[SENSe<Ch>:]FREQuency:IMODulation:UTONe.

[SENSe<Ch>:]FREQuency:MODE.

[SENSe<Ch>:]FREQuency:SBANd

[SENSe<Ch>:]FREQuency:SEGMent:AXIS.

[SENSe<Ch>:]FREQuency:SPAN.

[SENSe<Ch>:]FREQuency:STARt.

[SENSe<Ch>:]FREQuency:STOP.

[SENSe<Ch>:]FREQuency[:CW].

[SENSe<Ch>:]HARMonic:AUTO.

[SENSe<Ch>:]HARMonic:DLENgth:DATA.

[SENSe<Ch>:]HARMonic:ELENgth:DATA.

[SENSe<Ch>:]HARMonic:MLENgth:DATA.

[SENSe<Ch>:]HARMonic:PERMittivity:DATA.

[SENSe<Ch>:]HARMonic:RTIMe:DATA.

[SENSe<Ch>:]HARMonic:RTIMe:THReshold

[SENSe<Ch>:]HARMonic:VELocity:DATA.

[SENSe<Ch>:]HARMonic?

[SENSe<Ch>:]LPORt<LogPt>:ZCOMmon.

[SENSe<Ch>:]LPORt<LogPt>:ZDEFault[:STATe]

[SENSe<Ch>:]LPORt<LogPt>:ZDIFferent.

[SENSe<Ch>:]PAE:DCINput:MAIN.

[SENSe<Ch>:]PAE:DCINput:SECondary

[SENSe<Ch>:]PAE:PARameters:I.

[SENSe<Ch>:]PAE:PARameters:R.

[SENSe<Ch>:]PAE:PARameters:U.

[SENSe<Ch>:]PAE:TYPE.

[SENSe<Ch>:]PORT<PhyPt>:ZREFerence.

[SENSe<Ch>:]POWer:AGCMode:ACQuire.

[SENSe<Ch>:]POWer:AGCMode:SAVE.

[SENSe<Ch>:]POWer:AGCMode<PhyPt>:MEASure.

[SENSe<Ch>:]POWer:ATTenuation.

[SENSe<Ch>:]POWer:GAINcontrol.

[SENSe<Ch>:]POWer:GAINcontrol:ALL.

[SENSe<Ch>:]POWer:GAINcontrol:GLOBal.

[SENSe<Ch>:]POWer:IFGain<PhyPt>:MEASure

[SENSe<Ch>:]POWer:LOSuppress[:STATe]

[SENSe<Ch>:]ROSCillator[:SOURce].

[SENSe<Ch>:]SEGMent:COUNt?.

[SENSe<Ch>:]SEGMent:POWer[:LEVel]:CONTrol.

[SENSe<Ch>:]SEGMent<Seg>:ADD.

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution].

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]:CONTrol.

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]:SELect.

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]:SELect:CONTrol.

[SENSe<Ch>:]SEGMent<Seg>:CLEar

[SENSe<Ch>:]SEGMent<Seg>:DEFine

[SENSe<Ch>:]SEGMent<Seg>:DEFine:SELect

[SENSe<Ch>:]SEGMent<Seg>:DELete:ALL

[SENSe<Ch>:]SEGMent<Seg>:DELete[:DUMMy].

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:CENTer?

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:SPAN?.

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:STARt.

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:STOP.

[SENSe<Ch>:]SEGMent<Seg>:INSert.

[SENSe<Ch>:]SEGMent<Seg>:INSert:SELect.

[SENSe<Ch>:]SEGMent<Seg>:OVERlap

[SENSe<Ch>:]SEGMent<Seg>:PORT<PortId>:POWer[:LEVel].

[SENSe<Ch>:]SEGMent<Seg>:PORT<PortId>[:STATe].

[SENSe<Ch>:]SEGMent<Seg>:POWer:GAINcontrol.

[SENSe<Ch>:]SEGMent<Seg>:POWer:GAINcontrol:ALL.

[SENSe<Ch>:]SEGMent<Seg>:POWer:GAINcontrol:CONTrol.

[SENSe<Ch>:]SEGMent<Seg>:POWer[:LEVel]

[SENSe<Ch>:]SEGMent<Seg>:SWEep:DWELl.

[SENSe<Ch>:]SEGMent<Seg>:SWEep:DWELl:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:SWEep:GENeration

[SENSe<Ch>:]SEGMent<Seg>:SWEep:POINts.

[SENSe<Ch>:]SEGMent<Seg>:SWEep:TIME.

[SENSe<Ch>:]SEGMent<Seg>:SWEep:TIME:CONTrol.

[SENSe<Ch>:]SEGMent<Seg>:SWEep:TIME:SUM?.

[SENSe<Ch>:]SEGMent<Seg>[:STATe]

[SENSe<Ch>:]SWEep:AXIS:FREQuency.

[SENSe<Ch>:]SWEep:AXIS:POWer.

[SENSe<Ch>:]SWEep:COUNt.

[SENSe<Ch>:]SWEep:DETector:TIME.

[SENSe<Ch>:]SWEep:DWELl.

[SENSe<Ch>:]SWEep:DWELl:IPOint.

[SENSe<Ch>:]SWEep:GENeration

[SENSe<Ch>:]SWEep:GENeration:ANALog:CONDition?

[SENSe<Ch>:]SWEep:POINts.

[SENSe<Ch>:]SWEep:SPACing.

[SENSe<Ch>:]SWEep:STEP.

[SENSe<Ch>:]SWEep:TIME.

[SENSe<Ch>:]SWEep:TIME:AUTO.

[SENSe<Ch>:]SWEep:TYPE.

[SENSe<Chn>:]CORRection:PSTate?.

[SENSe<Chn>:]CORRection:SSTate?.

[SENSe<Chn>:]FUNCtion[:ON]

[SENSe<Chn>:]SWEep:SRCPort

CALCulate:CALValidate:AVERage[:STATe].

CALCulate:CALValidate:CHARacteriza

CALCulate:CALValidate:FORMat.

CALCulate:CALValidate:RESPonse:IMAGinary:LOWer.

CALCulate:CALValidate:RESPonse:IMAGinary:UPPer.

CALCulate:CALValidate:RESPonse:MAGNitude:LOWer.

CALCulate:CALValidate:RESPonse:MAGNitude:UPPer.

CALCulate:CALValidate:RESPonse:PHASe:LOWer.

CALCulate:CALValidate:RESPonse:PHASe:UPPer.

CALCulate:CALValidate:RESPonse:PRESet.

CALCulate:CALValidate:RESPonse:REAL:LOWer.

CALCulate:CALValidate:RESPonse:REAL:UPPer.

CALCulate:CALValidate:RUN

CALCulate:CALValidate:RUN:RESult?.

CALCulate:CALValidate:STANdard.

CALCulate:CLIMits:FAIL?.

CALCulate:DATA:ALL?

CALCulate:DATA:DALL?

CALCulate:DATA:TRACe.

CALCulate:FILTer[:GATE]:TIME:AOFFset

CALCulate:FMODel:DEASsistant:COUPon:LEFT:CLEar.

CALCulate:FMODel:DEASsistant:COUPon:LEFT:FILE.

CALCulate:FMODel:DEASsistant:COUPon:LEFT:MEASure.

CALCulate:FMODel:DEASsistant:COUPon:LEFT:PORT.

CALCulate:FMODel:DEASsistant:COUPon:LEFT:TYPE.

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:CLEar.

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:FILE.

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:MEASure.

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:PORT.

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:TYPE.

CALCulate:FMODel:DEASsistant:DUT:CLEar

CALCulate:FMODel:DEASsistant:DUT:FILE.

CALCulate:FMODel:DEASsistant:DUT:MEASure.

CALCulate:FMODel:DEASsistant:DUT:PORT.

CALCulate:FMODel:DEASsistant:DUT:TYPE.

CALCulate:FMODel:DEASsistant:FIXTure:RIGHt:TYPE.

CALCulate:FMODel:DEASsistant:IMPCorrect.

CALCulate:FMODel:DEASsistant:PRESet.

CALCulate:FMODel:DEASsistant:RUN.

CALCulate:FMODel:DEASsistant:RUN:RESult?

CALCulate:FMODel:DEASsistant:SAMCoupon

CALCulate:FMODel:DEASsistant:TOOL

CALCulate:FMODel:DEASsistant<Ph_pt>:FIXTure:LEFT:TYPE.

CALCulate:FMODel:DELT:DIRectory.

CALCulate:FMODel:DELT:DIRectory:DEFault.

CALCulate:FMODel:DELT:FREQuencies:CURRent:COUNt?.

CALCulate:FMODel:DELT:FREQuencies:CURRent?

CALCulate:FMODel:DELT:FREQuencies:DEFault:COUNt?

CALCulate:FMODel:DELT:FREQuencies:DEFault?

CALCulate:FMODel:DELT:FREQuencies:USEDefault

CALCulate:FMODel:DELT:FREQuencies:USER:ADD

CALCulate:FMODel:DELT:FREQuencies:USER:COUNt?

CALCulate:FMODel:DELT:FREQuencies:USER:DELete

CALCulate:FMODel:DELT:FREQuencies:USER:DELete:ALL.

CALCulate:FMODel:DELT:FREQuencies:USER?

CALCulate:FMODel:DELT:ML:CACHe:CLEar:ALL.

CALCulate:FMODel:DELT:ML:CACHe:CLEar:SELected.

CALCulate:FMODel:DELT:ML:DIFFmode.

CALCulate:FMODel:DELT:ML:FILename.

CALCulate:FMODel:DELT:ML:LENGth.

CALCulate:FMODel:DELT:ML:MEASure.

CALCulate:FMODel:DELT:ML:FILename.

CALCulate:FMODel:DELT:ML:LENGth.

CALCulate:FMODel:DELT:ML:MEASure.

CALCulate:FMODel:DELT:ML:FILename.

CALCulate:FMODel:DELT:ML:LENGth.

CALCulate:FMODel:DELT:ML:MEASure.

CALCulate:FMODel:DELT:MEASurement.

CALCulate:FMODel:DELT:METHod.

CALCulate:FMODel:DELT:PORDer.

CALCulate:FMODel:DELT:RUN.

CALCulate:FMODel:DELT:SWEep:CONTrol.

CALCulate:FMODel:DELT:SWEep:CONTrol:IFBW?

CALCulate:FMODel:DELT:SWEep:CONTrol:STEP?.

CALCulate:FMODel:DELT:SWEep:FREQuency:MAXimum.

CALCulate:FMODel:DELT:SWEep:FREQuency:MINimum.

CALCulate:FMODel:DELT:TCONfig.

CALCulate:FMODel:DELT:TDR.

CALCulate:FMODel:DELT<Ph_pt>:ML[:STATe]

CALCulate:FMODel:DELT<Ph_pt>:ML[:STATe]

CALCulate:FMODel:DELT<Ph_pt>:ML[:STATe]

CALCulate:FMODel:DIRectory.

CALCulate:FMODel:DIRectory:DEFault.

CALCulate:FMODel:DIRectory:DEFault:CLEar

CALCulate:FMODel:EZD:COUPon:MEASure.

CALCulate:FMODel:EZD:COUPon:MEASure:FILename

CALCulate:FMODel:EZD:COUPon:MEASure:FILename:CLEar

CALCulate:FMODel:EZD:DCEXtrapolat.

CALCulate:FMODel:EZD:DUT:MEASure.

CALCulate:FMODel:EZD:DUT:MEASure:FILename.

CALCulate:FMODel:EZD:DUT:MEASure:FILename:CLEar

CALCulate:FMODel:EZD:GENerate:SIDE<|>.

CALCulate:FMODel:EZD:IMPedance.

CALCulate:FMODel:EZD:IMPedance:BWIDlimit.

CALCulate:FMODel:EZD:IMPedance:REFerence

CALCulate:FMODel:EZD:PORT:ORDer

CALCulate:FMODel:EZD:PRESet.

CALCulate:FMODel:EZD:RUN:RUN.

CALCulate:FMODel:EZD<Ph_pt>:COUPon[:STATe]

CALCulate:FMODel:EZD<Ph_pt>:DUT[:STATe].

CALCulate:FMODel:EZD<Pt>:RUN[:STATe].

CALCulate:FMODel:ISD:ATTenuation:BEHavior

CALCulate:FMODel:ISD:COUPon:MEASure.

CALCulate:FMODel:ISD:COUPon:MEASure:FILename.

CALCulate:FMODel:ISD:COUPon:MEASure:FILename:CLEar

CALCulate:FMODel:ISD:COUPon:MEASure:OPEN.

CALCulate:FMODel:ISD:COUPon:MEASure:OPEN:FILename.

CALCulate:FMODel:ISD:COUPon:MEASure:SHORt.

CALCulate:FMODel:ISD:COUPon:MEASure:SHORt:FILename.

CALCulate:FMODel:ISD:COUPon:TYPE.

CALCulate:FMODel:ISD:DCEXtrapolat.

CALCulate:FMODel:ISD:DUT:MEASure.

CALCulate:FMODel:ISD:DUT:MEASure:FILename.

CALCulate:FMODel:ISD:DUT:MEASure:FILename:CLEar

CALCulate:FMODel:ISD:DUT:TYPE.

CALCulate:FMODel:ISD:FTIMe:DUT.

CALCulate:FMODel:ISD:FTIMe:OVERride

CALCulate:FMODel:ISD:IMPedance.

CALCulate:FMODel:ISD:OPERation.

CALCulate:FMODel:ISD:PASSivity

CALCulate:FMODel:ISD:PORT:ORDer

CALCulate:FMODel:ISD:PORT:SKIP.

CALCulate:FMODel:ISD:PORT:SKIP:LEFT.

CALCulate:FMODel:ISD:PORT:SKIP:NONE.

CALCulate:FMODel:ISD:PORT:SKIP:RIGHt.

CALCulate:FMODel:ISD:PRESet.

CALCulate:FMODel:ISD:RUN:RUN.

CALCulate:FMODel:ISD:SCALe:ATTenuation.

CALCulate:FMODel:ISD:SCALe:FREQuency.

CALCulate:FMODel:ISD:SCALe:FTIMe.

CALCulate:FMODel:ISD:SMALlfixture.

CALCulate:FMODel:ISD:TRACe:COUPling

CALCulate:FMODel:ISD<Ph_pt>:COUPon[:STATe]

CALCulate:FMODel:ISD<Ph_pt>:DUT[:STATe].

CALCulate:FMODel:ISD<Pt>:RUN[:STATe].

CALCulate:FMODel:REName.

CALCulate:FMODel:SFD:AUTO

CALCulate:FMODel:SFD:COUPon:MEASure.

CALCulate:FMODel:SFD:COUPon:MEASure:FILename.

CALCulate:FMODel:SFD:COUPon:MEASure:FILename:CLEar

CALCulate:FMODel:SFD:COUPon:TYPE.

CALCulate:FMODel:SFD:DIFFcfg

CALCulate:FMODel:SFD:DUT:MEASure.

CALCulate:FMODel:SFD:DUT:MEASure:FILename.

CALCulate:FMODel:SFD:DUT:MEASure:FILename:CLEar

CALCulate:FMODel:SFD:IMPedance.

CALCulate:FMODel:SFD:PRESet.

CALCulate:FMODel:SFD:RUN:RUN.

CALCulate:FMODel:SFD:TOTaldiffcfg

CALCulate:FMODel:SFD<Ph_pt>:COUPon[:STATe]

CALCulate:FMODel:SFD<Ph_pt>:DUT[:STATe].

CALCulate:FMODel:SFD<Ph_pt>:RUN[:STATe]

CALCulate:LIMit:CIRCle:FAIL:ALL?.

CALCulate:LIMit:FAIL:ALL?

CALCulate:LIMit:FAIL:DATA?.

CALCulate:LIMit:POINts:LOWer?.

CALCulate:LIMit:POINts:UPPer?

CALCulate:MARKer:COUPled:TYPE.

CALCulate:MARKer:COUPled[:STATe].

CALCulate:MARKer:FUNCtion:BWIDth:GMCenter.

CALCulate:PARameter:DELete:ALL.

CALCulate:PARameter:DELete:MEMory.

CALCulate:PIPelining:DATA?.

CALCulate:RIPPle:DISPlay:RESult:ALL[:STATe].

CALCulate:RIPPle:FAIL:ALL?

CALCulate:TDVSwr[:STATe].

CALCulate<Ch>:DATA:CALL

CALCulate<Ch>:DATA:CALL:CATalog?.

CALCulate<Ch>:DATA:CHANnel:ALL?

CALCulate<Ch>:DATA:CHANnel:DALL?

CALCulate<Ch>:DATA:MDATa:INTerpolate.

CALCulate<Ch>:DATA:SGRoup?

CALCulate<Ch>:PARameter:CATalog:SENDed?.

CALCulate<Ch>:PARameter:CATalog?

CALCulate<Ch>:PARameter:COPY:CHANnel

CALCulate<Ch>:PARameter:DEFine

CALCulate<Ch>:PARameter:DEFine:SGRoup

CALCulate<Ch>:PARameter:DELete

CALCulate<Ch>:PARameter:DELete:CALL

CALCulate<Ch>:PARameter:DELete:CMEMory

CALCulate<Ch>:PARameter:DELete:SGRoup

CALCulate<Ch>:PARameter:MEASure.

CALCulate<Ch>:PARameter:MEASure:SENDed

CALCulate<Ch>:PARameter:SDEFine

CALCulate<Ch>:PARameter:SDEFine:SENDed

CALCulate<Ch>:PARameter:SELect.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:C<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:DATA<Port>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:G<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:L<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:R<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:C<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:DATA<Port>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:G<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:L<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:R<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>[:STATe].

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:DATA.

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:G<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:L<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:R<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>[:STATe].

CALCulate<Ch>:TRANsform:VNETworks:FSIMulator[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:C.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:G.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:L.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:R.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>[:STATe].

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:C.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:G

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:L.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:R.

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>[:STATe].

CALCulate<Ch>:TRANsform:VNETworks:GLOop:GROup.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding:DELete.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:DEFine

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:C<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:G<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:L<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:R<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:DEFine.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:DELete.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:C<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:G<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:L<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:R<||>.

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>[:STATe].

CALCulate<Ch>:TRANsform:VNETworks:PSET:DEEMbedding<ListId>:DEFine

CALCulate<Ch>:TRANsform:VNETworks:PSET:EMBedding<ListId>:DEFine.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:C<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:DATA.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:G<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:L<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:R<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:TNDefinition.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>[:STATe].

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:DATA.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:G<Cmp>.

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:L<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:R<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:WAVes.

CALCulate<Chn>:DATA.

CALCulate<Chn>:DATA:NSWeep:COUNt?.

CALCulate<Chn>:DATA:NSWeep:FIRSt?.

CALCulate<Chn>:DATA:NSWeep[:LAST]?.

CALCulate<Chn>:DATA:STIMulus?.

CALCulate<Chn>:DLINe

CALCulate<Chn>:DLINe:STATe.

CALCulate<Chn>:DTIMe:DATA?.

CALCulate<Chn>:DTIMe:LIMit:FAIL:BEEP.

CALCulate<Chn>:DTIMe:LIMit:FAIL?.

CALCulate<Chn>:DTIMe:LIMit:LIMit.

CALCulate<Chn>:DTIMe:LIMit:STATe

CALCulate<Chn>:DTIMe:POSition.

CALCulate<Chn>:DTIMe:STATe.

CALCulate<Chn>:DTIMe:TARGet.

CALCulate<Chn>:EYE:DUT:MODE.

CALCulate<Chn>:EYE:EMPHasis:CURSor:POST<|>.

CALCulate<Chn>:EYE:EMPHasis:CURSor:PRE.

CALCulate<Chn>:EYE:EMPHasis:STATe.

CALCulate<Chn>:EYE:EQUalization:CTLE:DC.

CALCulate<Chn>:EYE:EQUalization:CTLE:POLE<|>.

CALCulate<Chn>:EYE:EQUalization:CTLE:ZERO.

CALCulate<Chn>:EYE:EQUalization:STATe

CALCulate<Chn>:EYE:INPut:BPATtern:TYPE.

CALCulate<Chn>:EYE:INPut:DRATe.

CALCulate<Chn>:EYE:INPut:LENGth:BITS.

CALCulate<Chn>:EYE:INPut:LENGth:PRBS.

CALCulate<Chn>:EYE:INPut:MODulation

CALCulate<Chn>:EYE:INPut:OLEVel.

CALCulate<Chn>:EYE:INPut:RTIMe:DATA.

CALCulate<Chn>:EYE:INPut:RTIMe:THReshold

CALCulate<Chn>:EYE:INPut:XRATe.

CALCulate<Chn>:EYE:INPut:ZLEVel.

CALCulate<Chn>:EYE:JITTer:DIRac:DELTa.

CALCulate<Chn>:EYE:JITTer:DIRac:PROBability.

CALCulate<Chn>:EYE:JITTer:PERiodic:FREQuency

CALCulate<Chn>:EYE:JITTer:PERiodic:MAGNitude

CALCulate<Chn>:EYE:JITTer:PERiodic:PHASe

CALCulate<Chn>:EYE:JITTer:RANDom:STDDeviation

CALCulate<Chn>:EYE:JITTer:STATe.

CALCulate<Chn>:EYE:JITTer:TYPE:DIRac

CALCulate<Chn>:EYE:JITTer:TYPE:PERiodic

CALCulate<Chn>:EYE:JITTer:TYPE:RANDom

CALCulate<Chn>:EYE:JITTer:TYPE:USER

CALCulate<Chn>:EYE:MASK AUTO.

CALCulate<Chn>:EYE:MASK:CENTer:HORizontal

CALCulate<Chn>:EYE:MASK:CENTer:VERTical.

CALCulate<Chn>:EYE:MASK:DATA?

CALCulate<Chn>:EYE:MASK:FAIL:BEEP.

CALCulate<Chn>:EYE:MASK:FAIL:CONDition

CALCulate<Chn>:EYE:MASK:FAIL?.

CALCulate<Chn>:EYE:MASK:SHAPe:BOTTom:HORizontal.

CALCulate<Chn>:EYE:MASK:SHAPe:BOTTom:STATe.

CALCulate<Chn>:EYE:MASK:SHAPe:BOTTom:VERTical

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:HORizontal

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:STATe.

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:TYPE.

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:VERTical.

CALCulate<Chn>:EYE:MASK:SHAPe:TOP:HORizontal

CALCulate<Chn>:EYE:MASK:SHAPe:TOP:STATe.

CALCulate<Chn>:EYE:MASK:SHAPe:TOP:VERTical

CALCulate<Chn>:EYE:MASK:SHOW.

CALCulate<Chn>:EYE:MASK:STATe

CALCulate<Chn>:EYE:MASK:VIOLation:RATE.

CALCulate<Chn>:EYE:MASK:VIOLation:TOLerance.

CALCulate<Chn>:EYE:MEASurement:DATA?.

CALCulate<Chn>:EYE:MEASurement:STATe.

CALCulate<Chn>:EYE:MEASurement:TTIMe:THReshold

CALCulate<Chn>:EYE:NOISe:RMS.

CALCulate<Chn>:EYE:NOISe:STATe

CALCulate<Chn>:EYE:STATe.

CALCulate<Chn>:EYE:STIMulus:ENCoder

CALCulate<Chn>:EYE:STIMulus:LOWPass.

CALCulate<Chn>:EYE:STIMulus:SCRambler

CALCulate<Chn>:EYE:VIEW.

CALCulate<Chn>:FILTer[:GATE]:TIME:CENTer

CALCulate<Chn>:FILTer[:GATE]:TIME:DCHebyshev

CALCulate<Chn>:FILTer[:GATE]:TIME:LINK.

CALCulate<Chn>:FILTer[:GATE]:TIME:SHAPe

CALCulate<Chn>:FILTer[:GATE]:TIME:SHOW.

CALCulate<Chn>:FILTer[:GATE]:TIME:SPAN.

CALCulate<Chn>:FILTer[:GATE]:TIME:STARt.

CALCulate<Chn>:FILTer[:GATE]:TIME:STATe.

CALCulate<Chn>:FILTer[:GATE]:TIME:STOP.

CALCulate<Chn>:FILTer[:GATE]:TIME:WINDow

CALCulate<Chn>:FILTer[:GATE]:TIME[:TYPE].

CALCulate<Chn>:FORMat.

CALCulate<Chn>:FORMat:WQUType.

CALCulate<Chn>:GDAPerture:SCOunt.

CALCulate<Chn>:IAVerage:MODE.

CALCulate<Chn>:IAVerage[:STATe]

CALCulate<Chn>:LIMit:CIRCle:CLEar.

CALCulate<Chn>:LIMit:CIRCle:DATA.

CALCulate<Chn>:LIMit:CIRCle:DISPlay[:STATe].

CALCulate<Chn>:LIMit:CIRCle:FAIL?.

CALCulate<Chn>:LIMit:CIRCle:SOUNd[:STATe].

CALCulate<Chn>:LIMit:CIRCle[:STATe].

CALCulate<Chn>:LIMit:CLEar.

CALCulate<Chn>:LIMit:CONTrol:DOMain

CALCulate<Chn>:LIMit:CONTrol:SHIFt.

CALCulate<Chn>:LIMit:CONTrol[:DATA].

CALCulate<Chn>:LIMit:DATA.

CALCulate<Chn>:LIMit:DCIRcle:CLEar.

CALCulate<Chn>:LIMit:DCIRcle:DATA.

CALCulate<Chn>:LIMit:DCIRcle:DISPlay[:STATe].

CALCulate<Chn>:LIMit:DCIRcle[:STATe].

CALCulate<Chn>:LIMit:DELete:ALL

CALCulate<Chn>:LIMit:DISPlay[:STATe]

CALCulate<Chn>:LIMit:FAIL?.

CALCulate<Chn>:LIMit:LOWer:FEED.

CALCulate<Chn>:LIMit:LOWer:SHIFt

CALCulate<Chn>:LIMit:LOWer:STATe.

CALCulate<Chn>:LIMit:LOWer[:DATA].

CALCulate<Chn>:LIMit:RDOMain:COMPlex

CALCulate<Chn>:LIMit:RDOMain:FORMat.

CALCulate<Chn>:LIMit:RDOMain:SPACing

CALCulate<Chn>:LIMit:SEGMent:COUNt?.

CALCulate<Chn>:LIMit:SEGMent<Seg>:AMPLitude:STARt.

CALCulate<Chn>:LIMit:SEGMent<Seg>:AMPLitude:STOP.

CALCulate<Chn>:LIMit:SEGMent<Seg>:FORMula.

CALCulate<Chn>:LIMit:SEGMent<Seg>:FORMula:STATe.

CALCulate<Chn>:LIMit:SEGMent<Seg>:INTerpol

CALCulate<Chn>:LIMit:SEGMent<Seg>:STIMulus:STARt.

CALCulate<Chn>:LIMit:SEGMent<Seg>:STIMulus:STOP.

CALCulate<Chn>:LIMit:SEGMent<Seg>:TYPE.

CALCulate<Chn>:LIMit:SOUNd[:STATe]

CALCulate<Chn>:LIMit:STATe.

CALCulate<Chn>:LIMit:STATe:AREA

CALCulate<Chn>:LIMit:TTLout<Pt>[:STATe].

CALCulate<Chn>:LIMit:UPPer:FEED.

CALCulate<Chn>:LIMit:UPPer:SHIFt.

CALCulate<Chn>:LIMit:UPPer:STATe.

CALCulate<Chn>:LIMit:UPPer[:DATA]

CALCulate<Chn>:MARKer:DEFault:FORMat.

CALCulate<Chn>:MARKer:MPEak:EXCursion

CALCulate<Chn>:MARKer:MPEak:EXCursion:STATe

CALCulate<Chn>:MARKer:MPEak:THReshold

CALCulate<Chn>:MARKer:MPEak:THReshold:STATe.

CALCulate<Chn>:MARKer:SEARch:BFILter:RESult[:STATe]

CALCulate<Chn>:MARKer:SEARch:BFILter:RESult[:STATe]:AREA.

CALCulate<Chn>:MARKer[:STATe]:AREA

CALCulate<Chn>:MARKer<Mk>:AOFF.

CALCulate<Chn>:MARKer<Mk>:BWIDth.

CALCulate<Chn>:MARKer<Mk>:DELTa[:STATe].

CALCulate<Chn>:MARKer<Mk>:EXCursion

CALCulate<Chn>:MARKer<Mk>:EXCursion:STATe.

CALCulate<Chn>:MARKer<Mk>:FORMat.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:BWIDth.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:BWIDth:MODE.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:CENTer.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DELTa:STATe

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER:SHOW.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER:STARt.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER:STOP.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER[:RANGe].

CALCulate<Chn>:MARKer<Mk>:FUNCtion:EXECute.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:RESult?.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:SPAN.

CALCulate<Chn>:MARKer<Mk>:FUNCtion:STARt

CALCulate<Chn>:MARKer<Mk>:FUNCtion:STOP

CALCulate<Chn>:MARKer<Mk>:FUNCtion:TARGet

CALCulate<Chn>:MARKer<Mk>:FUNCtion[:SELect].

CALCulate<Chn>:MARKer<Mk>:MAXimum

CALCulate<Chn>:MARKer<Mk>:MINimum

CALCulate<Chn>:MARKer<Mk>:MODE.

CALCulate<Chn>:MARKer<Mk>:NAME

CALCulate<Chn>:MARKer<Mk>:REFerence:EXCursion

CALCulate<Chn>:MARKer<Mk>:REFerence:EXCursion:STATe.

CALCulate<Chn>:MARKer<Mk>:REFerence:FORMat.

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:CENTer

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER:SHOW.

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER:STARt

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER:STOP

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER[:RANGe].

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:EXECute

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:RESult?

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:STARt.

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:STOP.

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:TARGet.

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion[:SELect].

CALCulate<Chn>:MARKer<Mk>:REFerence:MAXimum.

CALCulate<Chn>:MARKer<Mk>:REFerence:MINimum.

CALCulate<Chn>:MARKer<Mk>:REFerence:MODE.

CALCulate<Chn>:MARKer<Mk>:REFerence:NAME.

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:FORMat.

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:LEFT.

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:NEXT.

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:RIGHt.

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:TRACking

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch[:IMMediate].

CALCulate<Chn>:MARKer<Mk>:REFerence:TARGet

CALCulate<Chn>:MARKer<Mk>:REFerence:THReshold

CALCulate<Chn>:MARKer<Mk>:REFerence:THReshold:STATe.

CALCulate<Chn>:MARKer<Mk>:REFerence:TYPE.

CALCulate<Chn>:MARKer<Mk>:REFerence:X.

CALCulate<Chn>:MARKer<Mk>:REFerence:Y.

CALCulate<Chn>:MARKer<Mk>:REFerence[:STATe].

CALCulate<Chn>:MARKer<Mk>:SEARch:FORMat

CALCulate<Chn>:MARKer<Mk>:SEARch:LEFT

CALCulate<Chn>:MARKer<Mk>:SEARch:NEXT

CALCulate<Chn>:MARKer<Mk>:SEARch:RIGHt

CALCulate<Chn>:MARKer<Mk>:SEARch:TRACking.

CALCulate<Chn>:MARKer<Mk>:SEARch[:IMMediate]

CALCulate<Chn>:MARKer<Mk>:TARGet.

CALCulate<Chn>:MARKer<Mk>:THReshold

CALCulate<Chn>:MARKer<Mk>:THReshold:STATe.

CALCulate<Chn>:MARKer<Mk>:TYPE.

CALCulate<Chn>:MARKer<Mk>:X.

CALCulate<Chn>:MARKer<Mk>:Y.

CALCulate<Chn>:MARKer<Mk>[:STATe].

CALCulate<Chn>:MATH:FORMatted:FUNCtion.

CALCulate<Chn>:MATH:FORMatted:STATe.

CALCulate<Chn>:MATH:FORMatted[:EXPRession]:SDEFine.

CALCulate<Chn>:MATH:FUNCtion

CALCulate<Chn>:MATH:MEMorize.

CALCulate<Chn>:MATH:STATe

CALCulate<Chn>:MATH:WUNit[:STATe].

CALCulate<Chn>:MATH[:EXPRession]:SDEFine

CALCulate<Chn>:MATH[:EXPRession][:DEFine].

CALCulate<Chn>:PARameter:COPY.

CALCulate<Chn>:PHOLd

CALCulate<Chn>:RIPPle:CLEar

CALCulate<Chn>:RIPPle:CONTrol:DOMain

CALCulate<Chn>:RIPPle:DATA.

CALCulate<Chn>:RIPPle:DELete:ALL.

CALCulate<Chn>:RIPPle:DISPlay[:STATe].

CALCulate<Chn>:RIPPle:FAIL?.

CALCulate<Chn>:RIPPle:RDOMain:FORMat.

CALCulate<Chn>:RIPPle:SEGMent:COUNt?

CALCulate<Chn>:RIPPle:SEGMent<Seg>:LIMit.

CALCulate<Chn>:RIPPle:SEGMent<Seg>:RESult?

CALCulate<Chn>:RIPPle:SEGMent<Seg>:STIMulus:STARt.

CALCulate<Chn>:RIPPle:SEGMent<Seg>:STIMulus:STOP.

CALCulate<Chn>:RIPPle:SEGMent<Seg>[:STATe].

CALCulate<Chn>:RIPPle:SOUNd[:STATe].

CALCulate<Chn>:RIPPle:STATe.

CALCulate<Chn>:RIPPle:STATe:AREA.

CALCulate<Chn>:SMOothing:APERture

CALCulate<Chn>:SMOothing[:STATe].

CALCulate<Chn>:STATistics:DOMain:USER.

CALCulate<Chn>:STATistics:DOMain:USER:SHOW.

CALCulate<Chn>:STATistics:DOMain:USER:STARt

CALCulate<Chn>:STATistics:DOMain:USER:STOP

CALCulate<Chn>:STATistics:EPDelay[:STATe].

CALCulate<Chn>:STATistics:FORMat.

CALCulate<Chn>:STATistics:MMPTpeak[:STATe].

CALCulate<Chn>:STATistics:MSTDdev[:STATe].

CALCulate<Chn>:STATistics:NLINear:COMP:LEVel

CALCulate<Chn>:STATistics:NLINear:COMP:PHASe.

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER.

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER:SHOW.

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER:STARt.

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER:STOP.

CALCulate<Chn>:STATistics:NLINear:COMP:REFerence.

CALCulate<Chn>:STATistics:NLINear:COMP:RESult?.

CALCulate<Chn>:STATistics:NLINear:COMP:RLEVel

CALCulate<Chn>:STATistics:NLINear:COMP:RMARker.

CALCulate<Chn>:STATistics:NLINear:COMP:RPHase.

CALCulate<Chn>:STATistics:NLINear:COMP[:STATe].

CALCulate<Chn>:STATistics:RESult?

CALCulate<Chn>:STATistics:RMS[:STATe].

CALCulate<Chn>:STATistics:SFLatness[:STATe].

CALCulate<Chn>:STATistics[:STATe].

CALCulate<Chn>:STATistics[:STATe]:AREA

CALCulate<Chn>:TRANsform:COMPlex

CALCulate<Chn>:TRANsform:DTFault:CENTer

CALCulate<Chn>:TRANsform:DTFault:DEFine

CALCulate<Chn>:TRANsform:DTFault:DELete

CALCulate<Chn>:TRANsform:DTFault:PEAK:COUNt?.

CALCulate<Chn>:TRANsform:DTFault:PEAK:DATA<FaultNo>.

CALCulate<Chn>:TRANsform:DTFault:PEAK:STATe.

CALCulate<Chn>:TRANsform:DTFault:PEAK:THReshold

CALCulate<Chn>:TRANsform:DTFault:POINts.

CALCulate<Chn>:TRANsform:DTFault:SELect.

CALCulate<Chn>:TRANsform:DTFault:SPAN.

CALCulate<Chn>:TRANsform:DTFault:STARt.

CALCulate<Chn>:TRANsform:DTFault:STATe.

CALCulate<Chn>:TRANsform:DTFault:STOP.

CALCulate<Chn>:TRANsform:IMPedance:RNORmal.

CALCulate<Chn>:TRANsform:TIME:CENTer.

CALCulate<Chn>:TRANsform:TIME:DCHebyshev

CALCulate<Chn>:TRANsform:TIME:LPASs.

CALCulate<Chn>:TRANsform:TIME:LPASs:DCSParam.

CALCulate<Chn>:TRANsform:TIME:LPASs:DCSParam:CONTinuous

CALCulate<Chn>:TRANsform:TIME:LPASs:DCSParam:EXTRapolate

CALCulate<Chn>:TRANsform:TIME:LPFRequency

CALCulate<Chn>:TRANsform:TIME:RESolution:EFACtor.

CALCulate<Chn>:TRANsform:TIME:SPAN

CALCulate<Chn>:TRANsform:TIME:STARt.

CALCulate<Chn>:TRANsform:TIME:STATe.

CALCulate<Chn>:TRANsform:TIME:STIMulus.

CALCulate<Chn>:TRANsform:TIME:STOP

CALCulate<Chn>:TRANsform:TIME:WINDow.

CALCulate<Chn>:TRANsform:TIME:XAXis.

CALCulate<Chn>:TRANsform:TIME[:TYPE]

CALCulate<Chn>:TTIMe:DATA?.

CALCulate<Chn>:TTIMe:STATe.

CALCulate<Chn>:TTIMe:THReshold

CONFigure:CHANnel:CATalog?

CONFigure:CHANnel:MEASure:ACTive[:STATe].

CONFigure:CHANnel:MEASure:ALL[:STATe].

CONFigure:CHANnel:MEASure:OPTimized

CONFigure:CHANnel<Ch>:MEASure[:STATe].

CONFigure:CHANnel<Ch>:NAME.

CONFigure:CHANnel<Ch>:NAME:ID?.

CONFigure:CHANnel<Ch>:TRACe:CATalog?.

CONFigure:CHANnel<Ch>:TRACe:REName.

CONFigure:CHANnel<Ch>[:STATe].

CONFigure:TRACe:CATalog?.

CONFigure:TRACe:WINDow:TRACe?.

CONFigure:TRACe:WINDow?.

CONFigure:TRACe<Trc>:CHANnel:NAME:ID?.

CONFigure:TRACe<Trc>:CHANnel:NAME?.

CONFigure:TRACe<Trc>:NAME.

CONFigure:TRACe<Trc>:NAME:ID?.

CONFigure:TRACe<Trc>:REName

CONTrol:AUXiliary:C[:DATA].

CONTrol:GPIO:SENSe:SUMCurrent?.

CONTrol:GPIO<Port>:SENSe:CURRent?

CONTrol:GPIO<Port>:SENSe:VOLTage?

CONTrol:HANDler:A:MODE.

CONTrol:HANDler:A[:DATA].

CONTrol:HANDler:B:MODE.

CONTrol:HANDler:B[:DATA].

CONTrol:HANDler:C:MODE.

CONTrol:HANDler:C[:DATA].

CONTrol:HANDler:D:MODE.

CONTrol:HANDler:D[:DATA].

CONTrol:HANDler:E[:DATA].

CONTrol:HANDler:F[:DATA].

CONTrol:HANDler:G[:DATA].

CONTrol:HANDler:H[:DATA].

CONTrol:HANDler:INPut?.

CONTrol:HANDler:LOGic.

CONTrol:HANDler:OUTPut<Pt>:USER.

CONTrol:HANDler:OUTPut<Pt>[:DATA]

CONTrol:HANDler:PASSfail:LOGic.

CONTrol:HANDler:PASSfail:MODE.

CONTrol:HANDler:PASSfail:POLicy.

CONTrol:HANDler:PASSfail:SCOPe.

CONTrol:HANDler:PASSfail:STATus?.

CONTrol:HANDler:RESet.

CONTrol:HANDler:SWEepend.

CONTrol:HANDler[:EXTension]:INDex:STATe.

CONTrol:HANDler[:EXTension]:RTRigger:STATe.

CONTrol:RFFE<Bus>:TEST:CLOCk:CURRent?

CONTrol:RFFE<Bus>:TEST:CLOCk:VOLTage?.

CONTrol:RFFE<Bus>:TEST:DATA:CURRent?

CONTrol:RFFE<Bus>:TEST:DATA:VOLTage?.

CONTrol:RFFE<Bus>:TEST:VIO:CURRent?

CONTrol:RFFE<Bus>:TEST:VIO:VOLTage?.

CONTrol<Ch>:GPIO:SENSe:TRIGger.

CONTrol<Ch>:GPIO:TIME

CONTrol<Ch>:GPIO:VOLTage:OUTPut.

CONTrol<Ch>:GPIO<Port>:RANGe.

CONTrol<Ch>:GPIO<Port>:SHUNt?.

CONTrol<Ch>:GPIO<Port>:VOLTage[:DEFault].

CONTrol<Ch>:GPIO<Port>[:STATe].

CONTrol<Ch>:RFFE:TEST:OUTPut.

CONTrol<Ch>:RFFE:TEST:SENSe:TRIGger.

CONTrol<Ch>:RFFE:TEST:TIME

CONTrol<Ch>:RFFE<Bus>:COMMand:DATA.

CONTrol<Ch>:RFFE<Bus>:COMMand:SEND

CONTrol<Ch>:RFFE<Bus>:COMMand:SEND?

CONTrol<Ch>:RFFE<Bus>:SETTings:FREQuency.

CONTrol<Ch>:RFFE<Bus>:SETTings:VOLTage:HIGH.

CONTrol<Ch>:RFFE<Bus>:SETTings:VOLTage:IO.

CONTrol<Ch>:RFFE<Bus>:SETTings:VOLTage:LOW.

CONTrol<Ch>:RFFE<Bus>:SETTings[:STATe]

CONTrol<Ch>:RFFE<Bus>:TEST:CLOCk.

CONTrol<Ch>:RFFE<Bus>:TEST:CLOCk:RANGe.

CONTrol<Ch>:RFFE<Bus>:TEST:CLOCk:SHUNt?.

CONTrol<Ch>:RFFE<Bus>:TEST:DATA.

CONTrol<Ch>:RFFE<Bus>:TEST:DATA:RANGe

CONTrol<Ch>:RFFE<Bus>:TEST:DATA:SHUNt?

CONTrol<Ch>:RFFE<Bus>:TEST:VIO.

CONTrol<Ch>:RFFE<Bus>:TEST:VIO:RANGe

CONTrol<Ch>:RFFE<Bus>:TEST:VIO:SHUNt?

CONTrol<Ch>:SEGMent<SegNr>:SEQuence:CLEar:ALL

CONTrol<Ch>:SEGMent<SegNr>:SEQuence:COUNt?.

CONTrol<Ch>:SEGMent<SegNr>:SEQuence<SeqNr>:DELay

CONTrol<Ch>:SEGMent<SegNr>:SEQuence<SeqNr>:GPIO<Port>:VOLTage.

CONTrol<Ch>:SEGMent<SegNr>:SEQuence<SeqNr>:RFFE<Bus>:COMMand:DATA.

CONTrol<Ch>:SEQuence:CLEar:ALL.

CONTrol<Ch>:SEQuence:COUNt?.

CONTrol<Ch>:SEQuence<SeqNr>:DELay

CONTrol<Ch>:SEQuence<SeqNr>:GPIO<Port>:VOLTage

CONTrol<Ch>:SEQuence<SeqNr>:RFFE<Bus>:COMMand:DATA.

DIAGnostic:DEVice:STATe.

DIAGnostic:DUMP:SIZE.

DIAGnostic:HUMS:BIOS?.

DIAGnostic:HUMS:DELete:ALL

DIAGnostic:HUMS:DEVice:HISTory:DELete:ALL.

DIAGnostic:HUMS:DEVice:HISTory:EVENt:ADD

DIAGnostic:HUMS:DEVice:HISTory?.

DIAGnostic:HUMS:EQUipment?

DIAGnostic:HUMS:FORMat.

DIAGnostic:HUMS:SAVE.

DIAGnostic:HUMS:SECurity?

DIAGnostic:HUMS:SERVice?

DIAGnostic:HUMS:STATe.

DIAGnostic:HUMS:STORage?

DIAGnostic:HUMS:SW?.

DIAGnostic:HUMS:SYSTem:INFO?.

DIAGnostic:HUMS:SYSTem:STATus:SUMMary?

DIAGnostic:HUMS:SYSTem:STATus?.

DIAGnostic:HUMS:TAGS:ALL?

DIAGnostic:HUMS:TAGS:DELete

DIAGnostic:HUMS:TAGS:DELete:ALL.

DIAGnostic:HUMS:TAGS[:VALue].

DIAGnostic:HUMS:UTILization:ACTivity:TRACking:STATe.

DIAGnostic:HUMS:UTILization:CUSTom:ADD.

DIAGnostic:HUMS:UTILization:CUSTom:ALL?.

DIAGnostic:HUMS:UTILization:CUSTom:DELete.

DIAGnostic:HUMS:UTILization:CUSTom:DELete:ALL

DIAGnostic:HUMS:UTILization:CUSTom:UPDate.

DIAGnostic:HUMS:UTILization:HISTory:DELete:ALL.

DIAGnostic:HUMS:UTILization:HISTory:DETailed?

DIAGnostic:HUMS:UTILization:HISTory?.

DIAGnostic:HUMS:UTILization?

DIAGnostic:HUMS[:ALL]?.

DIAGnostic:PRODuct:OPTion:INFO?.

DIAGnostic:SERVice:CALibration:DATE.

DIAGnostic:SERVice:CALibration:DUE:DATE.

DIAGnostic:SERVice:CALibration:DUE:STATe?.

DIAGnostic:SERVice:CALibration:INTerval?

DIAGnostic:SERVice:DATE.

DIAGnostic:SERVice:FUNCtion

DIAGnostic:SERVice:RFPower

DIAGnostic:SERVice:SFUNction

DIAGnostic:SERVice:STATe?.

DISPlay:ANNotation:CHANnel[:STATe].

DISPlay:ANNotation:FREQuency[:STATe]

DISPlay:ANNotation:TRACe[:STATe]

DISPlay:CMAP:LIMit:FCOLorize[:STATe]

DISPlay:CMAP:LIMit:FSYMbol[:STATe]

DISPlay:CMAP:LIMit[:STATe]

DISPlay:CMAP:MARKer[:STATe]

DISPlay:CMAP:TRACe:COLor[:STATe].

DISPlay:CMAP:TRACe:RGB.

DISPlay:CMAP<DispEl>:RGB.

DISPlay:IWINdow:BFILter[:STATe].

DISPlay:IWINdow:MARKer<Mk>[:STATe]

DISPlay:IWINdow[:STATe]

DISPlay:LAYout.

DISPlay:LAYout:APPLy.

DISPlay:LAYout:DEFine

DISPlay:LAYout:EXECute

DISPlay:LAYout:GRID.

DISPlay:LAYout:JOIN.

DISPlay:LAYout:OVERlay

DISPlay:LAYout:SPLit.

DISPlay:MENU:KEY:ACTion:CATalog?

DISPlay:MENU:KEY:EXECute.

DISPlay:MENU:KEY:SELect.

DISPlay:MENU:KEY:TOOL:CATalog?

DISPlay:RFSize

DISPlay[:WINDow<Wnd>]:CATalog?

DISPlay[:WINDow<Wnd>]:MAXimize

DISPlay[:WINDow<Wnd>]:NAME.

DISPlay[:WINDow<Wnd>]:OVERview[:STATe].

DISPlay[:WINDow<Wnd>]:TITLe:DATA.

DISPlay[:WINDow<Wnd>]:TITLe[:STATe].

DISPlay[:WINDow<Wnd>]:TRACe:EFEed.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:CATalog?

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:DELete

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:FEED.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:LABel:SHOW.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:SHOW.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:X:OFFSet.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y:OFFSet

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:AUTO.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:BOTTom.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:PDIVision

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:RLEVel.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:RPOSition.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:TOP.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:BOTTom

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:STARt.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:STOP.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:TOP.

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM[:STATe].

DISPlay[:WINDow<Wnd>][:STATe]

FORMat:BORDer.

FORMat:DEXPort:SOURce.

FORMat[:DATA].

HCOPy:DESTination

HCOPy:DEVice:LANGuage

HCOPy:ITEM:ALL.

HCOPy:ITEM:LOGO[:STATe]

HCOPy:ITEM:MLISt[:STATe]

HCOPy:ITEM:TIME[:STATe]

HCOPy:PAGE:COLor

HCOPy:PAGE:MARGin:BOTTom

HCOPy:PAGE:MARGin:LEFT

HCOPy:PAGE:MARGin:RIGHt

HCOPy:PAGE:MARGin:TOP

HCOPy:PAGE:ORIentation

HCOPy:PAGE:WINDow

HCOPy[:IMMediate].

INITiate:CONTinuous:ALL

INITiate:PIPelining:STATe.

INITiate[:IMMediate]:ALL.

INITiate<Ch>:CONTinuous

INITiate<Ch>[:IMMediate]:SCOPe.

INITiate<Ch>[:IMMediate][:DUMMy].

INPut<PhyPt>:ATTenuation.

INSTrument:NSELect.

INSTrument:PORT:COUNt?.

INSTrument:SMATrix.

INSTrument:TPORt:COUNt?

INSTrument[:SELect].

MEMory:CATalog:COUNt?

MEMory:CATalog?

MEMory:DEFine

MEMory:DELete:ALL

MEMory:DELete[:NAME].

MEMory:SELect.

MMEMory:AKAL:FACTory:CONVersion.

MMEMory:AKAL:USER:CONVersion

MMEMory:CATalog:ALL?

MMEMory:CATalog?

MMEMory:CDIRectory

MMEMory:CKIT:INFO?.

MMEMory:COPY.

MMEMory:DATA.

MMEMory:DELete

MMEMory:DELete:CORRection

MMEMory:FAVorite<FavId>.

MMEMory:LOAD:CABLe

MMEMory:LOAD:CKIT.

MMEMory:LOAD:CKIT:SDATa.

MMEMory:LOAD:CKIT:SDATa:WLABel.

MMEMory:LOAD:CKIT:UDIRectory.

MMEMory:LOAD:CMAP.

MMEMory:LOAD:CMAP:HCOPy.

MMEMory:LOAD:CORRection

MMEMory:LOAD:CORRection:MERGe.

MMEMory:LOAD:CORRection:RESolve.

MMEMory:LOAD:CORRection:TCOefficient<Ch>.

MMEMory:LOAD:EYE:BPATtern.

MMEMory:LOAD:EYE:JITTer.

MMEMory:LOAD:EYE:MASK.

MMEMory:LOAD:LIMit.

MMEMory:LOAD:RIPPle.

MMEMory:LOAD:SEGMent.

MMEMory:LOAD:STATe.

MMEMory:LOAD:TRACe.

MMEMory:LOAD:TRACe:AUTO.

MMEMory:LOAD:VNETworks<Ch>:BALanced:DEEMbedding<LogPt>

MMEMory:LOAD:VNETworks<Ch>:BALanced:EMBedding<LogPt>

MMEMory:LOAD:VNETworks<Ch>:DIFFerential:EMBedding<LogPt>

MMEMory:LOAD:VNETworks<Ch>:GLOop:DEEMbedding<group>

MMEMory:LOAD:VNETworks<Ch>:GLOop:EMBedding<group>

MMEMory:LOAD:VNETworks<Ch>:PPAir:DEEMbedding<ListId>

MMEMory:LOAD:VNETworks<Ch>:PPAir:EMBedding<ListId>

MMEMory:LOAD:VNETworks<Ch>:SENDed:DEEMbedding<PhyPt>

MMEMory:LOAD:VNETworks<Ch>:SENDed:EMBedding<PhyPt>

MMEMory:MDIRectory.

MMEMory:MOVE.

MMEMory:MSIS.

MMEMory:NAME.

MMEMory:RDIRectory

MMEMory:STORe:CABLe.

MMEMory:STORe:CKIT.

MMEMory:STORe:CKIT:WLABel.

MMEMory:STORe:CMAP.

MMEMory:STORe:CMAP:HCOPy.

MMEMory:STORe:CORRection

MMEMory:STORe:CORRection:TCOefficient<Ch>

MMEMory:STORe:EYE:MASK.

MMEMory:STORe:EYE:MASK:RESults

MMEMory:STORe:EYE:MEASurements.

MMEMory:STORe:LIMit.

MMEMory:STORe:MARKer.

MMEMory:STORe:RIPPle.

MMEMory:STORe:SEGMent.

MMEMory:STORe:STATe

MMEMory:STORe:TRACe.

MMEMory:STORe:TRACe:CHANnel

MMEMory:STORe:TRACe:OPTion:BALanced

MMEMory:STORe:TRACe:OPTion:COMMent.

MMEMory:STORe:TRACe:OPTion:DECimals:DATA.

MMEMory:STORe:TRACe:OPTion:DECimals:STIMulus.

MMEMory:STORe:TRACe:OPTion:FORMat.

MMEMory:STORe:TRACe:OPTion:PLUS.

MMEMory:STORe:TRACe:OPTion:SSEParator.

MMEMory:STORe:TRACe:OPTion:SYMMetric.

MMEMory:STORe:TRACe:OPTion:TABS

MMEMory:STORe:TRACe:OPTion:TRIM.

MMEMory:STORe:TRACe:PORTs.

OUTPut:UPORt:ECBits

OUTPut:UPORt:KEEP.

OUTPut<Ch>:UPORt:SEGMent<Seg>:STATe

OUTPut<Ch>:UPORt:SEGMent<Seg>[:VALue]

OUTPut<Ch>:UPORt[:VALue]

OUTPut<Ch>[:STATe]

OUTPut<Chn>:DPORt.

PROGram[:SELected]:EXECute.

PROGram[:SELected]:INIMessage.

PROGram[:SELected]:INIParameter.

PROGram[:SELected]:NAME.

PROGram[:SELected]:RETVal?.

PROGram[:SELected]:WAIT

SOURce:POWer:CORRection:COLLect:AVERage:NTOLerance.

SOURce:POWer:CORRection:COLLect:AVERage[:COUNt].

SOURce:POWer:CORRection:COLLect:CFACtor

SOURce:POWer:CORRection:COLLect:FLATness.

SOURce:POWer:CORRection:COLLect:METHod.

SOURce:POWer:CORRection:COLLect:RRECeiver

SOURce:POWer:CORRection:NREadings

SOURce:POWer:CORRection:PMETer:ID.

SOURce:POWer:CORRection:PPOWer.

SOURce:POWer:CORRection:PSELect

SOURce:POWer:CORRection:TCOefficient:COUNt?

SOURce:POWer:CORRection:TCOefficient:DEFine<ListNo>

SOURce:POWer:CORRection:TCOefficient:DELete:ALL.

SOURce:POWer:CORRection:TCOefficient:DELete<ListNo>[:DUMMy].

SOURce:POWer:CORRection:TCOefficient:FEED.

SOURce:POWer:CORRection:TCOefficient:INSert<ListNo>

SOURce:POWer:CORRection:TCOefficient[:STATe].

SOURce:POWer:GENerator:SDELay.

SOURce:POWer:REDuce:SDELay

SOURce:POWer:SWEepend:MODE.

SOURce:POWer:SWEepend:SDELay

SOURce<Ch>:FREQuency:CONVersion:MIXer:PMFixed.

SOURce<Ch>:FREQuency:CONVersion:MIXer:PMODe.

SOURce<Ch>:FREQuency<PhyPt>:CONVersion:ARBitrary:EFRequency<Gen>

SOURce<Ch>:FREQuency<PhyPt>:CONVersion:ARBitrary:IFRequency

SOURce<Ch>:FREQuency<PhyPt>:FIXed.

SOURce<Ch>:FREQuency<PhyPt>[:CW].

SOURce<Ch>:GROup:COUNt?

SOURce<Ch>:GROup<Grp>.

SOURce<Ch>:GROup<Grp>:CLEar

SOURce<Ch>:GROup<Grp>:DPORt:COUNt.

SOURce<Ch>:GROup<Grp>:NAME

SOURce<Ch>:GROup<Grp>:PORDer

SOURce<Ch>:GROup<Grp>:PORTs.

SOURce<Ch>:GROup<Grp>:PPORt<PhyPort>:DPORt.

SOURce<Ch>:GROup<Grp>:PPORts.

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:CONDition

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:MOFFset:BWFactor.

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:MOFFset:DVALue

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:MOFFset:MODE.

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:STATe.

SOURce<Ch>:LPORt<LogPt>

SOURce<Ch>:LPORt<LogPt>:CLEar

SOURce<Ch>:POWer:CORRection:DATA.

SOURce<Ch>:POWer:CORRection:DATA:PARameter<Wv>?.

SOURce<Ch>:POWer:CORRection:DATA:PORT<PhyPt>.

SOURce<Ch>:POWer:CORRection:GENerator<Gen>[:STATe].

SOURce<Ch>:POWer:CORRection:IMODulation:PORT.

SOURce<Ch>:POWer:CORRection:OSOurces[:STATe].

SOURce<Ch>:POWer:CORRection[:ACQuire].

SOURce<Ch>:POWer<PhyPt>:CORRection:COLLect[:ACQuire].

SOURce<Ch>:POWer<PhyPt>:CORRection:DATA:PARameter<Wv>:COUNt?.

SOURce<Ch>:POWer<PhyPt>:CORRection:GENerator<Gen>:LEVel:OFFSet

SOURce<Ch>:POWer<PhyPt>:CORRection:IMODulation:LTONe[:ACQuire].

SOURce<Ch>:POWer<PhyPt>:CORRection:IMODulation:UTONe[:ACQuire].

SOURce<Ch>:POWer<PhyPt>:CORRection:LEVel:OFFSet

SOURce<Ch>:POWer<PhyPt>:CORRection:STATe.

SOURce<Ch>:POWer<PhyPt>:CORRection:TCOefficient:CALibration

SOURce<Ch>:POWer<PhyPt>:CORRection[:ACQuire]:VERification:RESult?

SOURce<Ch>:POWer<PhyPt>:GENerator<Gen>:OFFSet.

SOURce<Ch>:POWer<PhyPt>:GENerator<Gen>:PERManent[:STATe].

SOURce<Ch>:POWer<PhyPt>:GENerator<Gen>:STATe.

SOURce<Ch>:POWer<PhyPt>:PERManent[:STATe].

SOURce<Ch>:POWer<PhyPt>:REDuce[:STATe].

SOURce<Ch>:POWer<PhyPt>:STARt.

SOURce<Ch>:POWer<PhyPt>:STATe.

SOURce<Ch>:POWer<PhyPt>:STOP.

SOURce<Ch>:POWer<PhyPt>[:LEVel][:IMMediate]:OFFSet

SOURce<Ch>:POWer<PhyPt>[:LEVel][:IMMediate]:SLOPe.

SOURce<Ch>:POWer<PhyPt>[:LEVel][:IMMediate][:AMPLitude].

STATus:PRESet.

STATus:QUEStionable:CONDition?

STATus:QUEStionable:ENABle.

STATus:QUEStionable:INTegrity:CONDition?

STATus:QUEStionable:INTegrity:ENABle

STATus:QUEStionable:INTegrity:HARDware:CONDition?

STATus:QUEStionable:INTegrity:HARDware:ENABle.

STATus:QUEStionable:INTegrity:HARDware:NTRansition

STATus:QUEStionable:INTegrity:HARDware:PTRansition

STATus:QUEStionable:INTegrity:HARDware[:EVENt]?.

STATus:QUEStionable:INTegrity:NTRansition

STATus:QUEStionable:INTegrity:PTRansition

STATus:QUEStionable:INTegrity[:EVENt]?.

STATus:QUEStionable:LIMit<Lev>:CONDition?

STATus:QUEStionable:LIMit<Lev>:ENABle.

STATus:QUEStionable:LIMit<Lev>:NTRansition

STATus:QUEStionable:LIMit<Lev>:PTRansition

STATus:QUEStionable:LIMit<Lev>[:EVENt]?.

STATus:QUEStionable:NTRansition

STATus:QUEStionable:PTRansition

STATus:QUEStionable[:EVENt]?.

STATus:QUEue[:NEXT]?.

SYSTem:AGC:GLOBal:METHod.

SYSTem:COMMunicate:AKAL:CONNection

SYSTem:COMMunicate:AKAL:MMEMory[:STATe].

SYSTem:COMMunicate:CODec

SYSTem:COMMunicate:GPIB[:SELF]:ADDRess

SYSTem:COMMunicate:GPIB[:SELF]:DCLear:SUPPress.

SYSTem:COMMunicate:GPIB[:SELF]:INIT:WAIT

SYSTem:COMMunicate:GPIB[:SELF]:LPORt:ALIGn.

SYSTem:COMMunicate:GPIB[:SELF]:RTERminator

SYSTem:COMMunicate:NET:HOSTname

SYSTem:COMMunicate:RDEVice:AKAL:ADDRess.

SYSTem:COMMunicate:RDEVice:AKAL:ADDRess:ALL?

SYSTem:COMMunicate:RDEVice:AKAL:ADDRess:SUBModule:ALL?

SYSTem:COMMunicate:RDEVice:AKAL:CKIT.

SYSTem:COMMunicate:RDEVice:AKAL:CKIT:CATalog?.

SYSTem:COMMunicate:RDEVice:AKAL:CKIT:STANdard:CATalog?.

SYSTem:COMMunicate:RDEVice:AKAL:DATE?.

SYSTem:COMMunicate:RDEVice:AKAL:FRANge?.

SYSTem:COMMunicate:RDEVice:AKAL:PORTs?.

SYSTem:COMMunicate:RDEVice:AKAL:PREDuction[:STATe].

SYSTem:COMMunicate:RDEVice:AKAL:SDATa?.

SYSTem:COMMunicate:RDEVice:AKAL:TEMPerature?.

SYSTem:COMMunicate:RDEVice:AKAL:WARMup[:STATe]?.

SYSTem:COMMunicate:RDEVice:GENerator:COUNt?.

SYSTem:COMMunicate:RDEVice:GENerator:DELete.

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:CATalog?

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:DEFine

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:SEPMode

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:SEPower

SYSTem:COMMunicate:RDEVice:PMETer:CATalog?

SYSTem:COMMunicate:RDEVice:PMETer:CONFigure:AUTO[:STATe].

SYSTem:COMMunicate:RDEVice:PMETer:COUNt?.

SYSTem:COMMunicate:RDEVice:PMETer:DELete.

SYSTem:COMMunicate:RDEVice:PMETer<Pmtr>:AZERo.

SYSTem:COMMunicate:RDEVice:PMETer<Pmtr>:DEFine.

SYSTem:COMMunicate:RDEVice:PMETer<Pmtr>:SPCorrection[:STATe]

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:ABORt.

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:END.

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:STARt

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:TVNA.

SYSTem:COMMunicate:RDEVice:SMATrix:COUNt?

SYSTem:COMMunicate:RDEVice:SMATrix:DELete

SYSTem:COMMunicate:RDEVice:SMATrix:SCAN?

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CATalog?

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MLTest.

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MLVNa.

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MTESt

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MVNA.

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:DEFine

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:RELays:SWITch:COUNt?

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:SERial?

SYSTem:COMMunicate:REST:ENABle

SYSTem:COMMunicate:SNMP:COMMunity:RO.

SYSTem:COMMunicate:SNMP:COMMunity:RW.

SYSTem:COMMunicate:SNMP:CONTact.

SYSTem:COMMunicate:SNMP:LOCation

SYSTem:COMMunicate:SNMP:USM:USER

SYSTem:COMMunicate:SNMP:USM:USER:ALL?.

SYSTem:COMMunicate:SNMP:USM:USER:DELete.

SYSTem:COMMunicate:SNMP:USM:USER:DELete:ALL.

SYSTem:COMMunicate:SNMP:VERSion

SYSTem:CORRection:JOINcal.

SYSTem:CORRection:WIZard[:IMMediate].

SYSTem:DATA:MEMory:ADD

SYSTem:DATA:MEMory:CATalog?

SYSTem:DATA:MEMory:COMMit.

SYSTem:DATA:MEMory:DELete

SYSTem:DATA:MEMory:INITalize.

SYSTem:DATA:MEMory:OFFSet?.

SYSTem:DATA:MEMory:RESet

SYSTem:DATA:MEMory:SIZE?.

SYSTem:DATE.

SYSTem:DFPRint?.

SYSTem:DISPlay:BAR:HKEY[:STATe]

SYSTem:DISPlay:BAR:MENU[:STATe].

SYSTem:DISPlay:BAR:STATus[:STATe]

SYSTem:DISPlay:BAR:STOols[:STATe].

SYSTem:DISPlay:BAR:TITLe[:STATe].

SYSTem:DISPlay:BAR:TOOLs[:STATe].

SYSTem:DISPlay:COLor.

SYSTem:DISPlay:CONDuctances

SYSTem:DISPlay:DIALogs:SETup:MCAL[:STATe].

SYSTem:DISPlay:TRACes:CCOunt

SYSTem:DISPlay:UPDate

SYSTem:DISPlay:XLABels

SYSTem:ERRor:ALL?

SYSTem:ERRor:COUNt?

SYSTem:ERRor:DISPlay:ERRor

SYSTem:ERRor:DISPlay:INFO.

SYSTem:ERRor:DISPlay:STATe.

SYSTem:ERRor:DISPlay:WARNings

SYSTem:ERRor:DISPlay[:REMote].

SYSTem:ERRor[:NEXT]?.

SYSTem:FIRMware:UPDate

SYSTem:FORMat:IDENtify.

SYSTem:FPReset.

SYSTem:FREQuency?.

SYSTem:HELP:HEADers?

SYSTem:HELP:SYNTax:ALL?

SYSTem:HELP:SYNTax?

SYSTem:IDENtify:FACTory.

SYSTem:IDENtify[:STRing].

SYSTem:INFO:CONTrast.

SYSTem:KLOCk.

SYSTem:LANGuage

SYSTem:LOGGing:REMote[:STATe]

SYSTem:OPCHeck:PLEVel:PORT<Port>?.

SYSTem:OPCHeck:SELFtest?.

SYSTem:OPTions:FACTory.

SYSTem:OPTions[:STRing].

SYSTem:PASSword[:CENable]

SYSTem:PRESet:REMote[:STATe]

SYSTem:PRESet:SCOPe.

SYSTem:PRESet:STARt.

SYSTem:PRESet:USER:CAL.

SYSTem:PRESet:USER:NAME.

SYSTem:PRESet:USER[:STATe]

SYSTem:PRESet[:DUMMy].

SYSTem:SETTings:UPDate.

SYSTem:SHUTdown

SYSTem:SMATrix:OPTimization

SYSTem:SOUNd:ALARm[:STATe]

SYSTem:SOUNd:STATus[:STATe]

SYSTem:TIME.

SYSTem:TRESet[:STATe].

SYSTem:TSLock.

SYSTem:TTLout<Pt>:STATus[:STATe].

SYSTem:USER:DISPlay:TITLe.

SYSTem:USER:KEY.

SYSTem:VERSion?

TRACe:CLEar

TRACe:COPY.

TRACe:COPY:MATH.

TRACe[:DATA]:STIMulus[:ALL]?.

TRACe[:DATA][:RESPonse][:ALL]?.

TRIGger:CHANnel<Ch>:AUXiliary:DURation

TRIGger:CHANnel<Ch>:AUXiliary:INTerval.

TRIGger:CHANnel<Ch>:AUXiliary:OPOLarity.

TRIGger:CHANnel<Ch>:AUXiliary:POSition.

TRIGger:CHANnel<Ch>:AUXiliary[:ENABle]

TRIGger<Ch>[:SEQuence]:HOLDoff.

TRIGger<Ch>[:SEQuence]:LINK.

TRIGger<Ch>[:SEQuence]:MULTiple:HOLDoff.

TRIGger<Ch>[:SEQuence]:MULTiple:SLOPe<Num>

TRIGger<Ch>[:SEQuence]:MULTiple:SOURce

TRIGger<Ch>[:SEQuence]:SLOPe.

TRIGger<Ch>[:SEQuence]:SOURce.