[SENSe:]CDLL:ADD

[SENSe:]CDLL:LIST:TASK?

[SENSe:]CDLL:LIST?

[SENSe:]CDLL:REMove

[SENSe:]CORRection:CKIT:<ConnType>:LSELect

[SENSe:]CORRection:CKIT:<ConnType>:SELect

[SENSe:]CORRection:CKIT:<OnePortStandardType>:WLABel:SDATa?

[SENSe:]CORRection:CKIT:<StandardType>

[SENSe:]CORRection:CKIT:<StandardType>:WLABel

[SENSe:]CORRection:CKIT:<TwoPortStandard>:WLABel:SDATa?

[SENSe:]CORRection:CKIT:ADD

[SENSe:]CORRection:CKIT:CATalog?

[SENSe:]CORRection:CKIT:COPY

[SENSe:]CORRection:CKIT:DELete

[SENSe:]CORRection:CKIT:DMODe

[SENSe:]CORRection:CKIT:INSTall

[SENSe:]CORRection:CKIT:LABel

[SENSe:]CORRection:CKIT:LCATalog?

[SENSe:]CORRection:CKIT:LDELete

[SENSe:]CORRection:CKIT:LLABel

[SENSe:]CORRection:CKIT:LSELect

[SENSe:]CORRection:CKIT:SELect

[SENSe:]CORRection:CKIT:STANdard:CATalog?

[SENSe:]CORRection:CKIT:STANdard:DATA?

[SENSe:]CORRection:CKIT:STANdard:LCATalog?

[SENSe:]CORRection:COLLect:AUTO:CKIT

[SENSe:]CORRection:COLLect:AUTO:CKIT:PASSword

[SENSe:]CORRection:COLLect:AUTO:CKIT:PORTs

[SENSe:]CORRection:COLLect:AUTO:CKIT:PORTs:ADD

[SENSe:]CORRection:COLLect:AUTO:MCONnect

[SENSe:]CORRection:COLLect:AUTO:PORTs:CONNection?

[SENSe:]CORRection:COLLect:AVERage

[SENSe:]CORRection:COLLect:CHANnels:ALL

[SENSe:]CORRection:COLLect:CHANnels:MCTYpes

[SENSe:]CORRection:COLLect:FIXTure:LMParameter:LOSS[:STATe]

[SENSe:]CORRection:COLLect:FIXTure:LMParameter[:STATe]

[SENSe:]CORRection:COLLect:PMETer:ID

[SENSe:]CORRection:CONNection

[SENSe:]CORRection:CONNection:CATalog?

[SENSe:]CORRection:EDELay:VNETwork

[SENSe:]CORRection:METas:CABLe:CATalog?

[SENSe:]ROSCillator:EXTernal:FREQuency

[SENSe:]SNPMeasure:DUT:IMPort

[SENSe:]SNPMeasure:DUT:INIT:IDEalize

[SENSe:]SNPMeasure:DUT:INIT:MEASure

[SENSe:]SNPMeasure:DUT:INIT:RANGe

[SENSe:]SNPMeasure:DUT:NUMBer

[SENSe:]SNPMeasure:DUT:PART:ADD

[SENSe:]SNPMeasure:DUT:PART<pos>:DELete

[SENSe:]SNPMeasure:DUT:PART<pos>:MOVE

[SENSe:]SNPMeasure:DUT:PART<pos>:PORT

[SENSe:]SNPMeasure:DUT:PART<pos>:WIRE

[SENSe:]SNPMeasure:DUT:PART<pos>:WIRE:IDENtity

[SENSe:]SNPMeasure:DUT:PART<pos>:WIRE:POLarity

[SENSe:]SNPMeasure:DUT:PART<pos>?

[SENSe:]SNPMeasure:DUT:PREFix

[SENSe:]SNPMeasure:DUT:RIMPedance

[SENSe:]SNPMeasure:DUT:TEMPlate

[SENSe:]SNPMeasure:DUT?

[SENSe:]SNPMeasure:EXPort

[SENSe:]SNPMeasure:INSTrument:PORT

[SENSe:]SNPMeasure:MINTegrity:RESTore

[SENSe:]SNPMeasure:MINTegrity?

[SENSe:]SNPMeasure:RECall

[SENSe:]SNPMeasure:RST

[SENSe:]SNPMeasure:SAVE

[SENSe:]SNPMeasure:STATus?

[SENSe:]SNPMeasure:STEP<pos>:CLEar

[SENSe:]SNPMeasure:STEP<pos>:IMPort

[SENSe:]SNPMeasure:STEP<pos>:MEASure

[SENSe:]SNPMeasure:STEP<pos>?

[SENSe:]SWEep:COUNt:ALL

[SENSe:]UDSParams:ACTive

[SENSe:]UDSParams<Pt>:PARam

[SENSe<Ch>:]AVERage:CLEar

[SENSe<Ch>:]AVERage:COUNt

[SENSe<Ch>:]AVERage:MODE

[SENSe<Ch>:]AVERage[:STATe]

[SENSe<Ch>:]BANDwidth[:RESolution]

[SENSe<Ch>:]BANDwidth[:RESolution]:SELect

[SENSe<Ch>:]BWIDth[:RESolution]

[SENSe<Ch>:]BWIDth[:RESolution]:SELect

[SENSe<Ch>:]CDLL:PERManent:ADDitional

[SENSe<Ch>:]CDLL:PERManent:TASK

[SENSe<Ch>:]CDLL:PERManent[:STATe]

[SENSe<Ch>:]CDLL:TASK:ADDRess

[SENSe<Ch>:]CDLL[:STATe]

[SENSe<Ch>:]CORRection:CDATa

[SENSe<Ch>:]CORRection:CDATa:PORT<PhyPt>

[SENSe<Ch>:]CORRection:CKIT:<ConnType>:<StandardType>

[SENSe<Ch>:]CORRection:COLLect:AUTO

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:ALL:COUNt?

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:COUNt?

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DEFine:DEFault

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DEFine:OPTimized

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DEFine:TPORt:DEFault

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment:DELete:ALL

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:ACQuire

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:CHECk?

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:DEFine

[SENSe<Ch>:]CORRection:COLLect:AUTO:ASSignment<Asg>:DEFine:TPORt

[SENSe<Ch>:]CORRection:COLLect:AUTO:CONFigure

[SENSe<Ch>:]CORRection:COLLect:AUTO:CPORt

[SENSe<Ch>:]CORRection:COLLect:AUTO:PORTs

[SENSe<Ch>:]CORRection:COLLect:AUTO:PORTs:TYPE

[SENSe<Ch>:]CORRection:COLLect:AUTO:POWer

[SENSe<Ch>:]CORRection:COLLect:AUTO:REPeat

[SENSe<Ch>:]CORRection:COLLect:AUTO:SAVE

[SENSe<Ch>:]CORRection:COLLect:AUTO:TEMPcomp

[SENSe<Ch>:]CORRection:COLLect:AUTO:TERMination

[SENSe<Ch>:]CORRection:COLLect:AUTO:TYPE

[SENSe<Ch>:]CORRection:COLLect:AUTO:UTHRough

[SENSe<Ch>:]CORRection:COLLect:CKIT:INSTall

[SENSe<Ch>:]CORRection:COLLect:CKIT:LOAD

[SENSe<Ch>:]CORRection:COLLect:CKIT:PORT<PhyPt>?

[SENSe<Ch>:]CORRection:COLLect:CONNection:GENDers

[SENSe<Ch>:]CORRection:COLLect:CONNection:PORTs

[SENSe<Ch>:]CORRection:COLLect:CONNection<PhyPt>

[SENSe<Ch>:]CORRection:COLLect:DELete

[SENSe<Ch>:]CORRection:COLLect:DETector

[SENSe<Ch>:]CORRection:COLLect:DISCard

[SENSe<Ch>:]CORRection:COLLect:FIXTure:EXPort

[SENSe<Ch>:]CORRection:COLLect:FIXTure:IMPort

[SENSe<Ch>:]CORRection:COLLect:FIXTure:SAVE

[SENSe<Ch>:]CORRection:COLLect:FIXTure:STARt

[SENSe<Ch>:]CORRection:COLLect:FIXTure[:ACQuire]

[SENSe<Ch>:]CORRection:COLLect:LOAD:SELected

[SENSe<Ch>:]CORRection:COLLect:METHod

[SENSe<Ch>:]CORRection:COLLect:METHod:DEFine

[SENSe<Ch>:]CORRection:COLLect:SAVE:DEFault

[SENSe<Ch>:]CORRection:COLLect:SAVE:SELected:DEFault

[SENSe<Ch>:]CORRection:COLLect:SAVE:SELected[:DUMMy]

[SENSe<Ch>:]CORRection:COLLect:SAVE[:DUMMy]

[SENSe<Ch>:]CORRection:COLLect:SCONnection<PhyPt>

[SENSe<Ch>:]CORRection:COLLect[:ACQuire]

[SENSe<Ch>:]CORRection:COLLect[:ACQuire]:SELected

[SENSe<Ch>:]CORRection:CONNection:DELete

[SENSe<Ch>:]CORRection:DATA

[SENSe<Ch>:]CORRection:DATA:PARameter:COUNt?

[SENSe<Ch>:]CORRection:DATA:PARameter<Sfk>:PORT<PhyPt>?

[SENSe<Ch>:]CORRection:DATA:PARameter<Sfk>?

[SENSe<Ch>:]CORRection:DATE?

[SENSe<Ch>:]CORRection:DELete

[SENSe<Ch>:]CORRection:EDELay:AUTO

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:DIELectric

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:DISTance

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:ELENgth

[SENSe<Ch>:]CORRection:EDELay<PhyPt>:VELocity

[SENSe<Ch>:]CORRection:EDELay<PhyPt>[:TIME]

[SENSe<Ch>:]CORRection:LOSS:AUTO

[SENSe<Ch>:]CORRection:LOSS<PhyPt>

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:FREQuency

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:OFFSet

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:SECond

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:SECond:FREQuency

[SENSe<Ch>:]CORRection:LOSS<PhyPt>:SECond:STATe

[SENSe<Ch>:]CORRection:METas:CABLe:MOVement

[SENSe<Ch>:]CORRection:METas:CABLe:REConnection

[SENSe<Ch>:]CORRection:METas:CABLe:TYPE

[SENSe<Ch>:]CORRection:METas:UNCertainty

[SENSe<Ch>:]CORRection:METas[:STATe]

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>:COMPensation[:STATe]

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>:DFComp[:STATe]?

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>:MAGNitude

[SENSe<Ch>:]CORRection:OFFSet<PhyPt>[:STATe]

[SENSe<Ch>:]CORRection:PCAL

[SENSe<Ch>:]CORRection:POWer:DATA

[SENSe<Ch>:]CORRection:POWer:DATA:PORT<PhyPt>

[SENSe<Ch>:]CORRection:POWer<PhyPt>:ACQuire

[SENSe<Ch>:]CORRection:POWer<PhyPt>:AWAVe[:STATe]

[SENSe<Ch>:]CORRection:POWer<PhyPt>:IMODulation:ACQuire

[SENSe<Ch>:]CORRection:POWer<PhyPt>[:STATe]

[SENSe<Ch>:]CORRection:SMATrix:CDATa

[SENSe<Ch>:]CORRection:SMATrix:CDATa:PORT<PhyPt>

[SENSe<Ch>:]CORRection:STIMulus:PORT<PhyPt>?

[SENSe<Ch>:]CORRection:STIMulus?

[SENSe<Ch>:]CORRection[:STATe]

[SENSe<Ch>:]COUPle

[SENSe<Ch>:]DC<DCInp>:RANGe

[SENSe<Ch>:]FREQuency:CENTer

[SENSe<Ch>:]FREQuency:CONVersion

[SENSe<Ch>:]FREQuency:CONVersion:ARBitrary

[SENSe<Ch>:]FREQuency:CONVersion:ARBitrary:PMETer<Pmtr>

[SENSe<Ch>:]FREQuency:CONVersion:GAIN:LMCorrection

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:FIXed<Stg>

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:FUNDamental

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:IFFixed

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:IFPort

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:LOFixed

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:LOMultiplier<Stg>

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:LOPort<Stg>

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:MFFixed

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:RFFixed

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:RFMultiplier

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:RFPort

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:STAGes

[SENSe<Ch>:]FREQuency:CONVersion:MIXer:TFRequency<Stg>

[SENSe<Ch>:]FREQuency:FIXed

[SENSe<Ch>:]FREQuency:IMODulation:CONVersion

[SENSe<Ch>:]FREQuency:IMODulation:LTONe

[SENSe<Ch>:]FREQuency:IMODulation:ORDer<Im>[:STATe]

[SENSe<Ch>:]FREQuency:IMODulation:RECeiver

[SENSe<Ch>:]FREQuency:IMODulation:SPECtrum:MORDer

[SENSe<Ch>:]FREQuency:IMODulation:SPECtrum[:STATe]

[SENSe<Ch>:]FREQuency:IMODulation:TDIStance

[SENSe<Ch>:]FREQuency:IMODulation:UTONe

[SENSe<Ch>:]FREQuency:MODE

[SENSe<Ch>:]FREQuency:SBANd

[SENSe<Ch>:]FREQuency:SEGMent:AXIS

[SENSe<Ch>:]FREQuency:SPAN

[SENSe<Ch>:]FREQuency:STARt

[SENSe<Ch>:]FREQuency:STOP

[SENSe<Ch>:]FREQuency[:CW]

[SENSe<Ch>:]HARMonic:AUTO

[SENSe<Ch>:]HARMonic:DLENgth:DATA

[SENSe<Ch>:]HARMonic:ELENgth:DATA

[SENSe<Ch>:]HARMonic:MLENgth:DATA

[SENSe<Ch>:]HARMonic:PERMittivity:DATA

[SENSe<Ch>:]HARMonic:RTIMe:DATA

[SENSe<Ch>:]HARMonic:RTIMe:THReshold

[SENSe<Ch>:]HARMonic:VELocity:DATA

[SENSe<Ch>:]HARMonic?

[SENSe<Ch>:]LPORt<LogPt>:ZCOMmon

[SENSe<Ch>:]LPORt<LogPt>:ZDEFault[:STATe]

[SENSe<Ch>:]LPORt<LogPt>:ZDIFferent

[SENSe<Ch>:]NFIGure:CALibration:GTIMe

[SENSe<Ch>:]NFIGure:CALibration:NTIMe

[SENSe<Ch>:]NFIGure:DEFine

[SENSe<Ch>:]NFIGure:GTIMe

[SENSe<Ch>:]NFIGure:HARMonic[:MAXFrequency]

[SENSe<Ch>:]NFIGure:HARMonic[:MAXimumorder]

[SENSe<Ch>:]NFIGure:HARMonic[:MINFrequency]

[SENSe<Ch>:]NFIGure:HARMonic[:STATe]

[SENSe<Ch>:]NFIGure:IFConst

[SENSe<Ch>:]NFIGure:IFConst:STATe

[SENSe<Ch>:]NFIGure:NTIMe

[SENSe<Ch>:]NFIGure:TEATtenuator

[SENSe<Ch>:]NFIGure:VIRejection[:STATe]

[SENSe<Ch>:]PAE:DCINput:MAIN

[SENSe<Ch>:]PAE:DCINput:SECondary

[SENSe<Ch>:]PAE:PARameters:I

[SENSe<Ch>:]PAE:PARameters:R

[SENSe<Ch>:]PAE:PARameters:U

[SENSe<Ch>:]PAE:TYPE

[SENSe<Ch>:]PORT<PhyPt>:ZREFerence

[SENSe<Ch>:]POWer:AGCMode:ACQuire

[SENSe<Ch>:]POWer:AGCMode:SAVE

[SENSe<Ch>:]POWer:AGCMode<PhyPt>:MEASure

[SENSe<Ch>:]POWer:ATTenuation

[SENSe<Ch>:]POWer:GAINcontrol

[SENSe<Ch>:]POWer:GAINcontrol:ALL

[SENSe<Ch>:]POWer:GAINcontrol:GLOBal

[SENSe<Ch>:]POWer:IFGain<PhyPt>:MEASure

[SENSe<Ch>:]POWer:LOSuppress[:STATe]

[SENSe<Ch>:]PULSe:DUTYcycle

[SENSe<Ch>:]PULSe:GENerator:PERiod

[SENSe<Ch>:]PULSe:GENerator:WIDTh

[SENSe<Ch>:]PULSe:GENerator<PhyPt>[:STATe]

[SENSe<Ch>:]PULSe:INVert

[SENSe<Ch>:]PULSe:MEASdelay

[SENSe<Ch>:]PULSe:NPULses

[SENSe<Ch>:]PULSe:SYNCron[:STATe]

[SENSe<Ch>:]PULSe[:STATe]

[SENSe<Ch>:]ROSCillator[:SOURce]

[SENSe<Ch>:]SEGMent:COUNt?

[SENSe<Ch>:]SEGMent:POWer[:LEVel]:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:ADD

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]:SELect

[SENSe<Ch>:]SEGMent<Seg>:BWIDth[:RESolution]:SELect:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:CLEar

[SENSe<Ch>:]SEGMent<Seg>:DEFine

[SENSe<Ch>:]SEGMent<Seg>:DEFine:SELect

[SENSe<Ch>:]SEGMent<Seg>:DELete:ALL

[SENSe<Ch>:]SEGMent<Seg>:DELete[:DUMMy]

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:CENTer?

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:SPAN?

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:STARt

[SENSe<Ch>:]SEGMent<Seg>:FREQuency:STOP

[SENSe<Ch>:]SEGMent<Seg>:INSert

[SENSe<Ch>:]SEGMent<Seg>:INSert:SELect

[SENSe<Ch>:]SEGMent<Seg>:OVERlap

[SENSe<Ch>:]SEGMent<Seg>:PORT<PortId>:POWer[:LEVel]

[SENSe<Ch>:]SEGMent<Seg>:PORT<PortId>[:STATe]

[SENSe<Ch>:]SEGMent<Seg>:POWer:GAINcontrol

[SENSe<Ch>:]SEGMent<Seg>:POWer:GAINcontrol:ALL

[SENSe<Ch>:]SEGMent<Seg>:POWer:GAINcontrol:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:POWer[:LEVel]

[SENSe<Ch>:]SEGMent<Seg>:SWEep:DWELl

[SENSe<Ch>:]SEGMent<Seg>:SWEep:DWELl:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:SWEep:GENeration

[SENSe<Ch>:]SEGMent<Seg>:SWEep:POINts

[SENSe<Ch>:]SEGMent<Seg>:SWEep:TIME

[SENSe<Ch>:]SEGMent<Seg>:SWEep:TIME:CONTrol

[SENSe<Ch>:]SEGMent<Seg>:SWEep:TIME:SUM?

[SENSe<Ch>:]SEGMent<Seg>[:STATe]

[SENSe<Ch>:]SWEep:AXIS:FREQuency

[SENSe<Ch>:]SWEep:AXIS:POWer

[SENSe<Ch>:]SWEep:COUNt

[SENSe<Ch>:]SWEep:DETector:TIME

[SENSe<Ch>:]SWEep:DWELl

[SENSe<Ch>:]SWEep:DWELl:IPOint

[SENSe<Ch>:]SWEep:GENeration

[SENSe<Ch>:]SWEep:GENeration:ANALog:CONDition?

[SENSe<Ch>:]SWEep:POINts

[SENSe<Ch>:]SWEep:SPACing

[SENSe<Ch>:]SWEep:STEP

[SENSe<Ch>:]SWEep:TIME

[SENSe<Ch>:]SWEep:TIME:AUTO

[SENSe<Ch>:]SWEep:TYPE

[SENSe<Chn>:]CORRection:NSTate?

[SENSe<Chn>:]CORRection:PSTate?

[SENSe<Chn>:]CORRection:SSTate?

[SENSe<Chn>:]FUNCtion[:ON]

[SENSe<Chn>:]SWEep:SRCPort

*CLS

*ESE

*ESR?

*IDN?

*IST?

*OPC

*OPT?

*PCB

*PRE

*PSC

*RST

*SRE

*STB?

*TRG

*TST?

*WAI

CALCulate:CALValidate:AVERage[:STATe]

CALCulate:CALValidate:FORMat

CALCulate:CALValidate:MODE

CALCulate:CALValidate:RESPonse:LMAGnitude:LOWer

CALCulate:CALValidate:RESPonse:LMAGnitude:UPPer

CALCulate:CALValidate:RESPonse:MAGNitude:LOWer

CALCulate:CALValidate:RESPonse:MAGNitude:UPPer

CALCulate:CALValidate:RESPonse:PHASe:LOWer

CALCulate:CALValidate:RESPonse:PHASe:UPPer

CALCulate:CALValidate:RESPonse:PRESet

CALCulate:CALValidate:RUN

CALCulate:CALValidate:RUN:RESult?

CALCulate:CALValidate:STANdard

CALCulate:CLIMits:FAIL?

CALCulate:CLIMits[:STATe]

CALCulate:DATA:ALL?

CALCulate:DATA:DALL?

CALCulate:DATA:TRACe

CALCulate:FILTer[:GATE]:TIME:AOFFset

CALCulate:FMODel:DEASsistant:COUPon:LEFT:CLEar

CALCulate:FMODel:DEASsistant:COUPon:LEFT:FILE

CALCulate:FMODel:DEASsistant:COUPon:LEFT:MEASure

CALCulate:FMODel:DEASsistant:COUPon:LEFT:PORT

CALCulate:FMODel:DEASsistant:COUPon:LEFT:TYPE

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:CLEar

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:FILE

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:MEASure

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:PORT

CALCulate:FMODel:DEASsistant:COUPon:RIGHt:TYPE

CALCulate:FMODel:DEASsistant:DUT:CLEar

CALCulate:FMODel:DEASsistant:DUT:FILE

CALCulate:FMODel:DEASsistant:DUT:MEASure

CALCulate:FMODel:DEASsistant:DUT:PORT

CALCulate:FMODel:DEASsistant:DUT:TYPE

CALCulate:FMODel:DEASsistant:FIXTure:RIGHt:TYPE

CALCulate:FMODel:DEASsistant:IMPCorrect

CALCulate:FMODel:DEASsistant:PRESet

CALCulate:FMODel:DEASsistant:RUN

CALCulate:FMODel:DEASsistant:RUN:RESult?

CALCulate:FMODel:DEASsistant:SAMCoupon

CALCulate:FMODel:DEASsistant:TOOL

CALCulate:FMODel:DEASsistant<Ph_pt>:FIXTure:LEFT:TYPE

CALCulate:FMODel:DELT:DIRectory

CALCulate:FMODel:DELT:DIRectory:DEFault

CALCulate:FMODel:DELT:FREQuencies:CURRent:COUNt?

CALCulate:FMODel:DELT:FREQuencies:CURRent?

CALCulate:FMODel:DELT:FREQuencies:DEFault:COUNt?

CALCulate:FMODel:DELT:FREQuencies:DEFault?

CALCulate:FMODel:DELT:FREQuencies:USEDefault

CALCulate:FMODel:DELT:FREQuencies:USER:ADD

CALCulate:FMODel:DELT:FREQuencies:USER:COUNt?

CALCulate:FMODel:DELT:FREQuencies:USER:DELete

CALCulate:FMODel:DELT:FREQuencies:USER:DELete:ALL

CALCulate:FMODel:DELT:FREQuencies:USER?

CALCulate:FMODel:DELT:ML:CACHe:CLEar:ALL

CALCulate:FMODel:DELT:ML:CACHe:CLEar:SELected

CALCulate:FMODel:DELT:ML:DIFFmode

CALCulate:FMODel:DELT:ML:FILename

CALCulate:FMODel:DELT:ML:LENGth

CALCulate:FMODel:DELT:ML:MEASure

CALCulate:FMODel:DELT:ML:FILename

CALCulate:FMODel:DELT:ML:LENGth

CALCulate:FMODel:DELT:ML:MEASure

CALCulate:FMODel:DELT:ML:FILename

CALCulate:FMODel:DELT:ML:LENGth

CALCulate:FMODel:DELT:ML:MEASure

CALCulate:FMODel:DELT:MEASurement

CALCulate:FMODel:DELT:METHod

CALCulate:FMODel:DELT:PORDer

CALCulate:FMODel:DELT:RESonance

CALCulate:FMODel:DELT:RESonance:CUToff

CALCulate:FMODel:DELT:RUN

CALCulate:FMODel:DELT:SWEep:CONTrol

CALCulate:FMODel:DELT:SWEep:CONTrol:IFBW?

CALCulate:FMODel:DELT:SWEep:CONTrol:STEP?

CALCulate:FMODel:DELT:SWEep:FREQuency:MAXimum

CALCulate:FMODel:DELT:SWEep:FREQuency:MINimum

CALCulate:FMODel:DELT:TCONfig

CALCulate:FMODel:DELT:TDR

CALCulate:FMODel:DELT<Ph_pt>:ML[:STATe]

CALCulate:FMODel:DELT<Ph_pt>:ML[:STATe]

CALCulate:FMODel:DELT<Ph_pt>:ML[:STATe]

CALCulate:FMODel:DIRectory

CALCulate:FMODel:DIRectory:DEFault

CALCulate:FMODel:DIRectory:DEFault:CLEar

CALCulate:FMODel:EZD:COUPon:MEASure

CALCulate:FMODel:EZD:COUPon:MEASure:FILename

CALCulate:FMODel:EZD:COUPon:MEASure:FILename:CLEar

CALCulate:FMODel:EZD:DCEXtrapolat

CALCulate:FMODel:EZD:DUT:MEASure

CALCulate:FMODel:EZD:DUT:MEASure:FILename

CALCulate:FMODel:EZD:DUT:MEASure:FILename:CLEar

CALCulate:FMODel:EZD:GENerate:SIDE<|>

CALCulate:FMODel:EZD:IMPedance

CALCulate:FMODel:EZD:IMPedance:BWIDlimit

CALCulate:FMODel:EZD:IMPedance:REFerence

CALCulate:FMODel:EZD:PORT:ORDer

CALCulate:FMODel:EZD:PRESet

CALCulate:FMODel:EZD:RUN:RUN

CALCulate:FMODel:EZD<Ph_pt>:COUPon[:STATe]

CALCulate:FMODel:EZD<Ph_pt>:DUT[:STATe]

CALCulate:FMODel:EZD<Pt>:RUN[:STATe]

CALCulate:FMODel:ISD:ATTenuation:BEHavior

CALCulate:FMODel:ISD:COUPon:MEASure

CALCulate:FMODel:ISD:COUPon:MEASure:FILename

CALCulate:FMODel:ISD:COUPon:MEASure:FILename:CLEar

CALCulate:FMODel:ISD:COUPon:MEASure:OPEN

CALCulate:FMODel:ISD:COUPon:MEASure:OPEN:FILename

CALCulate:FMODel:ISD:COUPon:MEASure:SHORt

CALCulate:FMODel:ISD:COUPon:MEASure:SHORt:FILename

CALCulate:FMODel:ISD:COUPon:TYPE

CALCulate:FMODel:ISD:DCEXtrapolat

CALCulate:FMODel:ISD:DUT:MEASure

CALCulate:FMODel:ISD:DUT:MEASure:FILename

CALCulate:FMODel:ISD:DUT:MEASure:FILename:CLEar

CALCulate:FMODel:ISD:DUT:TYPE

CALCulate:FMODel:ISD:FTIMe:DUT

CALCulate:FMODel:ISD:FTIMe:OVERride

CALCulate:FMODel:ISD:IMPedance

CALCulate:FMODel:ISD:OPERation

CALCulate:FMODel:ISD:PASSivity

CALCulate:FMODel:ISD:PORT:ORDer

CALCulate:FMODel:ISD:PORT:SKIP

CALCulate:FMODel:ISD:PORT:SKIP:LEFT

CALCulate:FMODel:ISD:PORT:SKIP:NONE

CALCulate:FMODel:ISD:PORT:SKIP:RIGHt

CALCulate:FMODel:ISD:PRESet

CALCulate:FMODel:ISD:RUN:RUN

CALCulate:FMODel:ISD:SCALe:ATTenuation

CALCulate:FMODel:ISD:SCALe:FREQuency

CALCulate:FMODel:ISD:SCALe:FTIMe

CALCulate:FMODel:ISD:SMALlfixture

CALCulate:FMODel:ISD:SMOThing

CALCulate:FMODel:ISD:TRACe:COUPling

CALCulate:FMODel:ISD<Ph_pt>:COUPon[:STATe]

CALCulate:FMODel:ISD<Ph_pt>:DUT[:STATe]

CALCulate:FMODel:ISD<Pt>:RUN[:STATe]

CALCulate:FMODel:QSETup

CALCulate:FMODel:REName

CALCulate:FMODel:SFD:AUTO

CALCulate:FMODel:SFD:COUPon:MEASure

CALCulate:FMODel:SFD:COUPon:MEASure:FILename

CALCulate:FMODel:SFD:COUPon:MEASure:FILename:CLEar

CALCulate:FMODel:SFD:COUPon:TYPE

CALCulate:FMODel:SFD:DIFFcfg

CALCulate:FMODel:SFD:DUT:MEASure

CALCulate:FMODel:SFD:DUT:MEASure:FILename

CALCulate:FMODel:SFD:DUT:MEASure:FILename:CLEar

CALCulate:FMODel:SFD:IMPedance

CALCulate:FMODel:SFD:PRESet

CALCulate:FMODel:SFD:RUN:RUN

CALCulate:FMODel:SFD:TOTaldiffcfg

CALCulate:FMODel:SFD<Ph_pt>:COUPon[:STATe]

CALCulate:FMODel:SFD<Ph_pt>:DUT[:STATe]

CALCulate:FMODel:SFD<Ph_pt>:RUN[:STATe]

CALCulate:LIMit:CIRCle:FAIL:ALL?

CALCulate:LIMit:FAIL:ALL?

CALCulate:LIMit:FAIL:DATA?

CALCulate:LIMit:POINts:LOWer?

CALCulate:LIMit:POINts:UPPer?

CALCulate:MARKer:COUPled:TYPE

CALCulate:MARKer:COUPled[:STATe]

CALCulate:MARKer:FUNCtion:BWIDth:GMCenter

CALCulate:PARameter:DELete:ALL

CALCulate:PARameter:DELete:MEMory

CALCulate:PIPelining:DATA?

CALCulate:RIPPle:DISPlay:RESult:ALL[:STATe]

CALCulate:RIPPle:FAIL:ALL?

CALCulate:TDVSwr[:STATe]

CALCulate<Ch>:DATA:CALL

CALCulate<Ch>:DATA:CALL:CATalog?

CALCulate<Ch>:DATA:CHANnel:ALL?

CALCulate<Ch>:DATA:CHANnel:DALL?

CALCulate<Ch>:DATA:MDATa:INTerpolate

CALCulate<Ch>:DATA:SGRoup?

CALCulate<Ch>:PARameter:CATalog:SENDed?

CALCulate<Ch>:PARameter:CATalog?

CALCulate<Ch>:PARameter:COPY:CHANnel

CALCulate<Ch>:PARameter:DEFine

CALCulate<Ch>:PARameter:DEFine:SGRoup

CALCulate<Ch>:PARameter:DELete

CALCulate<Ch>:PARameter:DELete:CALL

CALCulate<Ch>:PARameter:DELete:CMEMory

CALCulate<Ch>:PARameter:DELete:SGRoup

CALCulate<Ch>:PARameter:MEASure

CALCulate<Ch>:PARameter:MEASure:SENDed

CALCulate<Ch>:PARameter:SDEFine

CALCulate<Ch>:PARameter:SDEFine:SENDed

CALCulate<Ch>:PARameter:SELect

CALCulate<Ch>:TRANsform:VNETworks:ACTivateall[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:DATA<Port>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:G<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:L<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:PARameters:R<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:BALanced:DEEMbedding<LogPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:DATA<Port>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:G<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:L<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:PARameters:R<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:BALanced:EMBedding<LogPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:DATA

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:G<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:L<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:PARameters:R<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:DIFFerential:EMBedding<LogPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:FSIMulator[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:C

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:G

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:L

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:PARameters:R

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:GLOop:DEEMbedding<group>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:C

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:G

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:L

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:PARameters:R

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:GLOop:EMBedding<group>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:GLOop:GROup

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding:DELete

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:DEFine

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:C<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:G<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:L<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:PARameters:R<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:PPAir:DEEMbedding<ListId>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:DEFine

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:DELete

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:C<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:G<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:L<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:PARameters:R<||>

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:PPAir:EMBedding<ListId>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:PSET:DEEMbedding<ListId>:DEFine

CALCulate<Ch>:TRANsform:VNETworks:PSET:EMBedding<ListId>:DEFine

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:DATA

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:G<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:L<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:PARameters:R<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:SENDed:DEEMbedding<PhyPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:C<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:DATA

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:G<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:L<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:PARameters:R<Cmp>

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>:TNDefinition

CALCulate<Ch>:TRANsform:VNETworks:SENDed:EMBedding<PhyPt>[:STATe]

CALCulate<Ch>:TRANsform:VNETworks:WAVes

CALCulate<Chn>:DATA

CALCulate<Chn>:DATA:NSWeep:COUNt?

CALCulate<Chn>:DATA:NSWeep:FIRSt?

CALCulate<Chn>:DATA:NSWeep[:LAST]?

CALCulate<Chn>:DATA:STIMulus?

CALCulate<Chn>:DLINe

CALCulate<Chn>:DLINe:STATe

CALCulate<Chn>:DTIMe:DATA?

CALCulate<Chn>:DTIMe:LIMit:FAIL:BEEP

CALCulate<Chn>:DTIMe:LIMit:FAIL?

CALCulate<Chn>:DTIMe:LIMit:LIMit

CALCulate<Chn>:DTIMe:LIMit:STATe

CALCulate<Chn>:DTIMe:POSition

CALCulate<Chn>:DTIMe:STATe

CALCulate<Chn>:DTIMe:TARGet

CALCulate<Chn>:EYE:DUT:MODE

CALCulate<Chn>:EYE:EMPHasis:CURSor:POST<|>

CALCulate<Chn>:EYE:EMPHasis:CURSor:PRE

CALCulate<Chn>:EYE:EMPHasis:STATe

CALCulate<Chn>:EYE:EQUalization:CTLE:DC

CALCulate<Chn>:EYE:EQUalization:CTLE:POLE<|>

CALCulate<Chn>:EYE:EQUalization:CTLE:ZERO

CALCulate<Chn>:EYE:EQUalization:STATe

CALCulate<Chn>:EYE:INPut:BPATtern:TYPE

CALCulate<Chn>:EYE:INPut:DRATe

CALCulate<Chn>:EYE:INPut:LENGth:BITS

CALCulate<Chn>:EYE:INPut:LENGth:PRBS

CALCulate<Chn>:EYE:INPut:MODulation

CALCulate<Chn>:EYE:INPut:OLEVel

CALCulate<Chn>:EYE:INPut:RTIMe:DATA

CALCulate<Chn>:EYE:INPut:RTIMe:THReshold

CALCulate<Chn>:EYE:INPut:XRATe

CALCulate<Chn>:EYE:INPut:ZLEVel

CALCulate<Chn>:EYE:JITTer:DIRac:DELTa

CALCulate<Chn>:EYE:JITTer:DIRac:PROBability

CALCulate<Chn>:EYE:JITTer:PERiodic:FREQuency

CALCulate<Chn>:EYE:JITTer:PERiodic:MAGNitude

CALCulate<Chn>:EYE:JITTer:PERiodic:PHASe

CALCulate<Chn>:EYE:JITTer:RANDom:STDDeviation

CALCulate<Chn>:EYE:JITTer:STATe

CALCulate<Chn>:EYE:JITTer:TYPE:DIRac

CALCulate<Chn>:EYE:JITTer:TYPE:PERiodic

CALCulate<Chn>:EYE:JITTer:TYPE:RANDom

CALCulate<Chn>:EYE:JITTer:TYPE:USER

CALCulate<Chn>:EYE:MASK AUTO

CALCulate<Chn>:EYE:MASK:CENTer:HORizontal

CALCulate<Chn>:EYE:MASK:CENTer:VERTical

CALCulate<Chn>:EYE:MASK:DATA?

CALCulate<Chn>:EYE:MASK:FAIL:BEEP

CALCulate<Chn>:EYE:MASK:FAIL:CONDition

CALCulate<Chn>:EYE:MASK:FAIL?

CALCulate<Chn>:EYE:MASK:SHAPe:BOTTom:HORizontal

CALCulate<Chn>:EYE:MASK:SHAPe:BOTTom:STATe

CALCulate<Chn>:EYE:MASK:SHAPe:BOTTom:VERTical

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:HORizontal

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:STATe

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:TYPE

CALCulate<Chn>:EYE:MASK:SHAPe:POLYgon:VERTical

CALCulate<Chn>:EYE:MASK:SHAPe:TOP:HORizontal

CALCulate<Chn>:EYE:MASK:SHAPe:TOP:STATe

CALCulate<Chn>:EYE:MASK:SHAPe:TOP:VERTical

CALCulate<Chn>:EYE:MASK:SHOW

CALCulate<Chn>:EYE:MASK:STATe

CALCulate<Chn>:EYE:MASK:VIOLation:RATE

CALCulate<Chn>:EYE:MASK:VIOLation:TOLerance

CALCulate<Chn>:EYE:MEASurement:BASic

CALCulate<Chn>:EYE:MEASurement:DATA?

CALCulate<Chn>:EYE:MEASurement:STATe

CALCulate<Chn>:EYE:MEASurement:TIME

CALCulate<Chn>:EYE:MEASurement:TTIMe:THReshold

CALCulate<Chn>:EYE:NOISe:RMS

CALCulate<Chn>:EYE:NOISe:STATe

CALCulate<Chn>:EYE:STATe

CALCulate<Chn>:EYE:STIMulus:ENCoder

CALCulate<Chn>:EYE:STIMulus:LOWPass

CALCulate<Chn>:EYE:STIMulus:SCRambler

CALCulate<Chn>:EYE:VIEW

CALCulate<Chn>:FILTer[:GATE]:TIME:CENTer

CALCulate<Chn>:FILTer[:GATE]:TIME:DCHebyshev

CALCulate<Chn>:FILTer[:GATE]:TIME:LINK

CALCulate<Chn>:FILTer[:GATE]:TIME:SHAPe

CALCulate<Chn>:FILTer[:GATE]:TIME:SHOW

CALCulate<Chn>:FILTer[:GATE]:TIME:SPAN

CALCulate<Chn>:FILTer[:GATE]:TIME:STARt

CALCulate<Chn>:FILTer[:GATE]:TIME:STATe

CALCulate<Chn>:FILTer[:GATE]:TIME:STOP

CALCulate<Chn>:FILTer[:GATE]:TIME:WINDow

CALCulate<Chn>:FILTer[:GATE]:TIME[:TYPE]

CALCulate<Chn>:FORMat

CALCulate<Chn>:FORMat:WQUType

CALCulate<Chn>:GDAPerture:SCOunt

CALCulate<Chn>:IAVerage:MODE

CALCulate<Chn>:IAVerage[:STATe]

CALCulate<Chn>:LIMit:CIRCle:CLEar

CALCulate<Chn>:LIMit:CIRCle:DATA

CALCulate<Chn>:LIMit:CIRCle:DISPlay[:STATe]

CALCulate<Chn>:LIMit:CIRCle:FAIL?

CALCulate<Chn>:LIMit:CIRCle:SOUNd[:STATe]

CALCulate<Chn>:LIMit:CIRCle[:STATe]

CALCulate<Chn>:LIMit:CLEar

CALCulate<Chn>:LIMit:CONTrol:DOMain

CALCulate<Chn>:LIMit:CONTrol:SHIFt

CALCulate<Chn>:LIMit:CONTrol[:DATA]

CALCulate<Chn>:LIMit:DATA

CALCulate<Chn>:LIMit:DCIRcle:CLEar

CALCulate<Chn>:LIMit:DCIRcle:DATA

CALCulate<Chn>:LIMit:DCIRcle:DISPlay[:STATe]

CALCulate<Chn>:LIMit:DCIRcle[:STATe]

CALCulate<Chn>:LIMit:DELete:ALL

CALCulate<Chn>:LIMit:DISPlay[:STATe]

CALCulate<Chn>:LIMit:FAIL?

CALCulate<Chn>:LIMit:LOWer:FEED

CALCulate<Chn>:LIMit:LOWer:SHIFt

CALCulate<Chn>:LIMit:LOWer:STATe

CALCulate<Chn>:LIMit:LOWer[:DATA]

CALCulate<Chn>:LIMit:RDOMain:COMPlex

CALCulate<Chn>:LIMit:RDOMain:FORMat

CALCulate<Chn>:LIMit:RDOMain:SPACing

CALCulate<Chn>:LIMit:SEGMent:COUNt?

CALCulate<Chn>:LIMit:SEGMent<Seg>:AMPLitude:STARt

CALCulate<Chn>:LIMit:SEGMent<Seg>:AMPLitude:STOP

CALCulate<Chn>:LIMit:SEGMent<Seg>:FORMula

CALCulate<Chn>:LIMit:SEGMent<Seg>:FORMula:STATe

CALCulate<Chn>:LIMit:SEGMent<Seg>:INTerpol

CALCulate<Chn>:LIMit:SEGMent<Seg>:STIMulus:STARt

CALCulate<Chn>:LIMit:SEGMent<Seg>:STIMulus:STOP

CALCulate<Chn>:LIMit:SEGMent<Seg>:TYPE

CALCulate<Chn>:LIMit:SOUNd[:STATe]

CALCulate<Chn>:LIMit:STATe

CALCulate<Chn>:LIMit:STATe:AREA

CALCulate<Chn>:LIMit:TTLout<Pt>[:STATe]

CALCulate<Chn>:LIMit:UPPer:FEED

CALCulate<Chn>:LIMit:UPPer:SHIFt

CALCulate<Chn>:LIMit:UPPer:STATe

CALCulate<Chn>:LIMit:UPPer[:DATA]

CALCulate<Chn>:LIMit:X:OFFSet

CALCulate<Chn>:LIMit:Y:OFFSet

CALCulate<Chn>:MARKer:DEFault:FORMat

CALCulate<Chn>:MARKer:MPEak:EXCursion

CALCulate<Chn>:MARKer:MPEak:EXCursion:STATe

CALCulate<Chn>:MARKer:MPEak:THReshold

CALCulate<Chn>:MARKer:MPEak:THReshold:STATe

CALCulate<Chn>:MARKer:SEARch:BFILter:RESult[:STATe]

CALCulate<Chn>:MARKer:SEARch:BFILter:RESult[:STATe]:AREA

CALCulate<Chn>:MARKer[:STATe]:AREA

CALCulate<Chn>:MARKer<Mk>:AOFF

CALCulate<Chn>:MARKer<Mk>:BWIDth

CALCulate<Chn>:MARKer<Mk>:DELTa[:STATe]

CALCulate<Chn>:MARKer<Mk>:EXCursion

CALCulate<Chn>:MARKer<Mk>:EXCursion:STATe

CALCulate<Chn>:MARKer<Mk>:FORMat

CALCulate<Chn>:MARKer<Mk>:FUNCtion:BWIDth

CALCulate<Chn>:MARKer<Mk>:FUNCtion:BWIDth:MODE

CALCulate<Chn>:MARKer<Mk>:FUNCtion:CENTer

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DELTa:STATe

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER:SHOW

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER:STARt

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER:STOP

CALCulate<Chn>:MARKer<Mk>:FUNCtion:DOMain:USER[:RANGe]

CALCulate<Chn>:MARKer<Mk>:FUNCtion:EXECute

CALCulate<Chn>:MARKer<Mk>:FUNCtion:PEAK

CALCulate<Chn>:MARKer<Mk>:FUNCtion:RESult?

CALCulate<Chn>:MARKer<Mk>:FUNCtion:SPAN

CALCulate<Chn>:MARKer<Mk>:FUNCtion:STARt

CALCulate<Chn>:MARKer<Mk>:FUNCtion:STOP

CALCulate<Chn>:MARKer<Mk>:FUNCtion:TARGet

CALCulate<Chn>:MARKer<Mk>:FUNCtion[:SELect]

CALCulate<Chn>:MARKer<Mk>:MAXimum

CALCulate<Chn>:MARKer<Mk>:MINimum

CALCulate<Chn>:MARKer<Mk>:MODE

CALCulate<Chn>:MARKer<Mk>:NAME

CALCulate<Chn>:MARKer<Mk>:REFerence:EXCursion

CALCulate<Chn>:MARKer<Mk>:REFerence:EXCursion:STATe

CALCulate<Chn>:MARKer<Mk>:REFerence:FORMat

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:CENTer

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER:SHOW

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER:STARt

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER:STOP

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:DOMain:USER[:RANGe]

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:EXECute

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:RESult?

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:STARt

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:STOP

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion:TARGet

CALCulate<Chn>:MARKer<Mk>:REFerence:FUNCtion[:SELect]

CALCulate<Chn>:MARKer<Mk>:REFerence:MAXimum

CALCulate<Chn>:MARKer<Mk>:REFerence:MINimum

CALCulate<Chn>:MARKer<Mk>:REFerence:MODE

CALCulate<Chn>:MARKer<Mk>:REFerence:NAME

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:FORMat

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:LEFT

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:NEXT

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:RIGHt

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch:TRACking

CALCulate<Chn>:MARKer<Mk>:REFerence:SEARch[:IMMediate]

CALCulate<Chn>:MARKer<Mk>:REFerence:TARGet

CALCulate<Chn>:MARKer<Mk>:REFerence:THReshold

CALCulate<Chn>:MARKer<Mk>:REFerence:THReshold:STATe

CALCulate<Chn>:MARKer<Mk>:REFerence:TYPE

CALCulate<Chn>:MARKer<Mk>:REFerence:X

CALCulate<Chn>:MARKer<Mk>:REFerence:Y

CALCulate<Chn>:MARKer<Mk>:REFerence[:STATe]

CALCulate<Chn>:MARKer<Mk>:SEARch:FORMat

CALCulate<Chn>:MARKer<Mk>:SEARch:LEFT

CALCulate<Chn>:MARKer<Mk>:SEARch:NEXT

CALCulate<Chn>:MARKer<Mk>:SEARch:RIGHt

CALCulate<Chn>:MARKer<Mk>:SEARch:TRACking

CALCulate<Chn>:MARKer<Mk>:SEARch[:IMMediate]

CALCulate<Chn>:MARKer<Mk>:TARGet

CALCulate<Chn>:MARKer<Mk>:THReshold

CALCulate<Chn>:MARKer<Mk>:THReshold:STATe

CALCulate<Chn>:MARKer<Mk>:TYPE

CALCulate<Chn>:MARKer<Mk>:X

CALCulate<Chn>:MARKer<Mk>:Y

CALCulate<Chn>:MARKer<Mk>[:STATe]

CALCulate<Chn>:MATH:FORMatted:FUNCtion

CALCulate<Chn>:MATH:FORMatted:STATe

CALCulate<Chn>:MATH:FORMatted[:EXPRession]:SDEFine

CALCulate<Chn>:MATH:FUNCtion

CALCulate<Chn>:MATH:MEMorize

CALCulate<Chn>:MATH:STATe

CALCulate<Chn>:MATH:WUNit[:STATe]

CALCulate<Chn>:MATH[:EXPRession]:SDEFine

CALCulate<Chn>:MATH[:EXPRession][:DEFine]

CALCulate<Chn>:PARameter:COPY

CALCulate<Chn>:PHOLd

CALCulate<Chn>:RIPPle:CLEar

CALCulate<Chn>:RIPPle:CONTrol:DOMain

CALCulate<Chn>:RIPPle:DATA

CALCulate<Chn>:RIPPle:DELete:ALL

CALCulate<Chn>:RIPPle:DISPlay[:STATe]

CALCulate<Chn>:RIPPle:FAIL?

CALCulate<Chn>:RIPPle:RDOMain:FORMat

CALCulate<Chn>:RIPPle:SEGMent:COUNt?

CALCulate<Chn>:RIPPle:SEGMent<Seg>:LIMit

CALCulate<Chn>:RIPPle:SEGMent<Seg>:RESult?

CALCulate<Chn>:RIPPle:SEGMent<Seg>:STIMulus:STARt

CALCulate<Chn>:RIPPle:SEGMent<Seg>:STIMulus:STOP

CALCulate<Chn>:RIPPle:SEGMent<Seg>[:STATe]

CALCulate<Chn>:RIPPle:SOUNd[:STATe]

CALCulate<Chn>:RIPPle:STATe

CALCulate<Chn>:RIPPle:STATe:AREA

CALCulate<Chn>:SMOothing:APERture

CALCulate<Chn>:SMOothing[:STATe]

CALCulate<Chn>:STATistics:DOMain:USER

CALCulate<Chn>:STATistics:DOMain:USER:SHOW

CALCulate<Chn>:STATistics:DOMain:USER:STARt

CALCulate<Chn>:STATistics:DOMain:USER:STOP

CALCulate<Chn>:STATistics:EPDelay[:STATe]

CALCulate<Chn>:STATistics:FORMat

CALCulate<Chn>:STATistics:MMPTpeak[:STATe]

CALCulate<Chn>:STATistics:MSTDdev[:STATe]

CALCulate<Chn>:STATistics:NLINear:COMP:LEVel

CALCulate<Chn>:STATistics:NLINear:COMP:PHASe

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER:SHOW

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER:STARt

CALCulate<Chn>:STATistics:NLINear:COMP:RDOMain:USER:STOP

CALCulate<Chn>:STATistics:NLINear:COMP:REFerence

CALCulate<Chn>:STATistics:NLINear:COMP:RESult?

CALCulate<Chn>:STATistics:NLINear:COMP:RLEVel

CALCulate<Chn>:STATistics:NLINear:COMP:RMARker

CALCulate<Chn>:STATistics:NLINear:COMP:RPHase

CALCulate<Chn>:STATistics:NLINear:COMP[:STATe]

CALCulate<Chn>:STATistics:RESult?

CALCulate<Chn>:STATistics:RMS[:STATe]

CALCulate<Chn>:STATistics:SFLatness[:STATe]

CALCulate<Chn>:STATistics[:STATe]

CALCulate<Chn>:STATistics[:STATe]:AREA

CALCulate<Chn>:TRANsform:COMPlex

CALCulate<Chn>:TRANsform:DTFault:CENTer

CALCulate<Chn>:TRANsform:DTFault:DEFine

CALCulate<Chn>:TRANsform:DTFault:DELete

CALCulate<Chn>:TRANsform:DTFault:PEAK:COUNt?

CALCulate<Chn>:TRANsform:DTFault:PEAK:DATA<FaultNo>

CALCulate<Chn>:TRANsform:DTFault:PEAK:STATe

CALCulate<Chn>:TRANsform:DTFault:PEAK:THReshold

CALCulate<Chn>:TRANsform:DTFault:POINts

CALCulate<Chn>:TRANsform:DTFault:SELect

CALCulate<Chn>:TRANsform:DTFault:SPAN

CALCulate<Chn>:TRANsform:DTFault:STARt

CALCulate<Chn>:TRANsform:DTFault:STATe

CALCulate<Chn>:TRANsform:DTFault:STOP

CALCulate<Chn>:TRANsform:IMPedance:RNORmal

CALCulate<Chn>:TRANsform:TIME:CENTer

CALCulate<Chn>:TRANsform:TIME:DCHebyshev

CALCulate<Chn>:TRANsform:TIME:LPASs

CALCulate<Chn>:TRANsform:TIME:LPASs:DCSParam

CALCulate<Chn>:TRANsform:TIME:LPASs:DCSParam:CONTinuous

CALCulate<Chn>:TRANsform:TIME:LPASs:DCSParam:EXTRapolate

CALCulate<Chn>:TRANsform:TIME:LPFRequency

CALCulate<Chn>:TRANsform:TIME:RESolution:EFACtor

CALCulate<Chn>:TRANsform:TIME:SPAN

CALCulate<Chn>:TRANsform:TIME:STARt

CALCulate<Chn>:TRANsform:TIME:STATe

CALCulate<Chn>:TRANsform:TIME:STIMulus

CALCulate<Chn>:TRANsform:TIME:STOP

CALCulate<Chn>:TRANsform:TIME:WINDow

CALCulate<Chn>:TRANsform:TIME:XAXis

CALCulate<Chn>:TRANsform:TIME[:TYPE]

CALCulate<Chn>:TTIMe:DATA

CALCulate<Chn>:TTIMe:STATe

CALCulate<Chn>:TTIMe:THReshold

CONFigure:CHANnel:CATalog?

CONFigure:CHANnel:MEASure:ACTive[:STATe]

CONFigure:CHANnel:MEASure:ALL[:STATe]

CONFigure:CHANnel:MEASure:OPTimized

CONFigure:CHANnel<Ch>:MEASure[:STATe]

CONFigure:CHANnel<Ch>:NAME

CONFigure:CHANnel<Ch>:NAME:ID?

CONFigure:CHANnel<Ch>:TRACe:CATalog?

CONFigure:CHANnel<Ch>:TRACe:REName

CONFigure:CHANnel<Ch>[:STATe]

CONFigure:TRACe:CATalog?

CONFigure:TRACe:WINDow:TRACe?

CONFigure:TRACe:WINDow?

CONFigure:TRACe<Trc>:CHANnel:NAME:ID?

CONFigure:TRACe<Trc>:CHANnel:NAME?

CONFigure:TRACe<Trc>:NAME

CONFigure:TRACe<Trc>:NAME:ID?

CONFigure:TRACe<Trc>:REName

CONTrol:AUXiliary:C[:DATA]

CONTrol:GPIO:SENSe:SUMCurrent?

CONTrol:GPIO<Port>:SENSe:CURRent?

CONTrol:GPIO<Port>:SENSe:VOLTage?

CONTrol:HANDler:A:MODE

CONTrol:HANDler:A[:DATA]

CONTrol:HANDler:B:MODE

CONTrol:HANDler:B[:DATA]

CONTrol:HANDler:C:MODE

CONTrol:HANDler:C[:DATA]

CONTrol:HANDler:D:MODE

CONTrol:HANDler:D[:DATA]

CONTrol:HANDler:E[:DATA]

CONTrol:HANDler:F[:DATA]

CONTrol:HANDler:G[:DATA]

CONTrol:HANDler:H[:DATA]

CONTrol:HANDler:INPut?

CONTrol:HANDler:LOGic

CONTrol:HANDler:OUTPut<Pt>:USER

CONTrol:HANDler:OUTPut<Pt>[:DATA]

CONTrol:HANDler:PASSfail:LOGic

CONTrol:HANDler:PASSfail:MODE

CONTrol:HANDler:PASSfail:POLicy

CONTrol:HANDler:PASSfail:SCOPe

CONTrol:HANDler:PASSfail:STATus?

CONTrol:HANDler:RESet

CONTrol:HANDler:SWEepend

CONTrol:HANDler[:EXTension]:INDex:STATe

CONTrol:HANDler[:EXTension]:RTRigger:STATe

CONTrol:RFFE<Bus>:TEST:CLOCk:CURRent?

CONTrol:RFFE<Bus>:TEST:CLOCk:VOLTage?

CONTrol:RFFE<Bus>:TEST:DATA:CURRent?

CONTrol:RFFE<Bus>:TEST:DATA:VOLTage?

CONTrol:RFFE<Bus>:TEST:VIO:CURRent?

CONTrol:RFFE<Bus>:TEST:VIO:VOLTage?

CONTrol<Ch>:GPIO:SENSe:TRIGger

CONTrol<Ch>:GPIO:TIME

CONTrol<Ch>:GPIO:VOLTage:OUTPut

CONTrol<Ch>:GPIO<Port>:RANGe

CONTrol<Ch>:GPIO<Port>:SHUNt?

CONTrol<Ch>:GPIO<Port>:VOLTage[:DEFault]

CONTrol<Ch>:GPIO<Port>[:STATe]

CONTrol<Ch>:RFFE:TEST:OUTPut

CONTrol<Ch>:RFFE:TEST:SENSe:TRIGger

CONTrol<Ch>:RFFE:TEST:TIME

CONTrol<Ch>:RFFE<Bus>:COMMand:DATA

CONTrol<Ch>:RFFE<Bus>:COMMand:SEND

CONTrol<Ch>:RFFE<Bus>:COMMand:SEND?

CONTrol<Ch>:RFFE<Bus>:SETTings:FREQuency

CONTrol<Ch>:RFFE<Bus>:SETTings:VOLTage:HIGH

CONTrol<Ch>:RFFE<Bus>:SETTings:VOLTage:IO

CONTrol<Ch>:RFFE<Bus>:SETTings:VOLTage:LOW

CONTrol<Ch>:RFFE<Bus>:SETTings[:STATe]

CONTrol<Ch>:RFFE<Bus>:TEST:CLOCk

CONTrol<Ch>:RFFE<Bus>:TEST:CLOCk:RANGe

CONTrol<Ch>:RFFE<Bus>:TEST:CLOCk:SHUNt?

CONTrol<Ch>:RFFE<Bus>:TEST:DATA

CONTrol<Ch>:RFFE<Bus>:TEST:DATA:RANGe

CONTrol<Ch>:RFFE<Bus>:TEST:DATA:SHUNt?

CONTrol<Ch>:RFFE<Bus>:TEST:VIO

CONTrol<Ch>:RFFE<Bus>:TEST:VIO:RANGe

CONTrol<Ch>:RFFE<Bus>:TEST:VIO:SHUNt?

CONTrol<Ch>:SEGMent<SegNr>:SEQuence:CLEar:ALL

CONTrol<Ch>:SEGMent<SegNr>:SEQuence:COUNt?

CONTrol<Ch>:SEGMent<SegNr>:SEQuence<SeqNr>:DELay

CONTrol<Ch>:SEGMent<SegNr>:SEQuence<SeqNr>:GPIO<Port>:VOLTage

CONTrol<Ch>:SEGMent<SegNr>:SEQuence<SeqNr>:RFFE<Bus>:COMMand:DATA

CONTrol<Ch>:SEQuence:CLEar:ALL

CONTrol<Ch>:SEQuence:COUNt?

CONTrol<Ch>:SEQuence<SeqNr>:DELay

CONTrol<Ch>:SEQuence<SeqNr>:GPIO<Port>:VOLTage

CONTrol<Ch>:SEQuence<SeqNr>:RFFE<Bus>:COMMand:DATA

DIAGnostic:DEVice:STATe

DIAGnostic:DUMP:SIZE

DIAGnostic:HUMS:BIOS?

DIAGnostic:HUMS:DELete:ALL

DIAGnostic:HUMS:DEVice:HISTory:DELete:ALL

DIAGnostic:HUMS:DEVice:HISTory:EVENt:ADD

DIAGnostic:HUMS:DEVice:HISTory?

DIAGnostic:HUMS:EQUipment?

DIAGnostic:HUMS:FORMat

DIAGnostic:HUMS:SAVE

DIAGnostic:HUMS:SECurity?

DIAGnostic:HUMS:SERVice?

DIAGnostic:HUMS:STATe

DIAGnostic:HUMS:STORage?

DIAGnostic:HUMS:SW?

DIAGnostic:HUMS:SYSTem:INFO?

DIAGnostic:HUMS:SYSTem:STATus:SUMMary?

DIAGnostic:HUMS:SYSTem:STATus?

DIAGnostic:HUMS:TAGS:ALL?

DIAGnostic:HUMS:TAGS:DELete

DIAGnostic:HUMS:TAGS:DELete:ALL

DIAGnostic:HUMS:TAGS[:VALue]

DIAGnostic:HUMS:UTILization:ACTivity:TRACking:STATe

DIAGnostic:HUMS:UTILization:CUSTom:ADD

DIAGnostic:HUMS:UTILization:CUSTom:ALL?

DIAGnostic:HUMS:UTILization:CUSTom:DELete

DIAGnostic:HUMS:UTILization:CUSTom:DELete:ALL

DIAGnostic:HUMS:UTILization:CUSTom:UPDate

DIAGnostic:HUMS:UTILization:HISTory:DELete:ALL

DIAGnostic:HUMS:UTILization:HISTory:DETailed?

DIAGnostic:HUMS:UTILization:HISTory?

DIAGnostic:HUMS:UTILization?

DIAGnostic:HUMS[:ALL]?

DIAGnostic:PRODuct:OPTion:INFO?

DIAGnostic:SERVice:CALibration:DATE

DIAGnostic:SERVice:CALibration:DUE:DATE

DIAGnostic:SERVice:CALibration:DUE:STATe?

DIAGnostic:SERVice:CALibration:INTerval?

DIAGnostic:SERVice:DATE

DIAGnostic:SERVice:FUNCtion

DIAGnostic:SERVice:HWINfo?

DIAGnostic:SERVice:RFPower

DIAGnostic:SERVice:SFUNction

DIAGnostic:SERVice:STATe?

DISPlay:ANNotation:CHANnel[:STATe]

DISPlay:ANNotation:TRACe[:STATe]

DISPlay:CMAP:BWSCheme[:STATe]

DISPlay:CMAP:EYE:TCHigh:RGB

DISPlay:CMAP:EYE:TCLow:RGB

DISPlay:CMAP:LIMit:FCOLorize[:STATe]

DISPlay:CMAP:LIMit:FSYMbol[:STATe]

DISPlay:CMAP:LIMit[:STATe]

DISPlay:CMAP:LSCHeme[:STATe]

DISPlay:CMAP:LSSCheme[:STATe]

DISPlay:CMAP:MARKer[:STATe]

DISPlay:CMAP:TRACe:COLor[:STATe]

DISPlay:CMAP:TRACe:RGB

DISPlay:CMAP<DispEl>:RGB

DISPlay:IWINdow:BFILter[:STATe]

DISPlay:IWINdow:MARKer<Mk>[:STATe]

DISPlay:IWINdow[:STATe]

DISPlay:LAYout

DISPlay:LAYout:APPLy

DISPlay:LAYout:DEFine

DISPlay:LAYout:EXECute

DISPlay:LAYout:GRID

DISPlay:LAYout:JOIN

DISPlay:LAYout:OVERlay

DISPlay:LAYout:SPLit

DISPlay:MENU:KEY:ACTion:CATalog?

DISPlay:MENU:KEY:EXECute

DISPlay:MENU:KEY:SELect

DISPlay:MENU:KEY:TOOL:CATalog?

DISPlay:RFSize

DISPlay[:WINDow<Wnd>]:CATalog?

DISPlay[:WINDow<Wnd>]:MAXimize

DISPlay[:WINDow<Wnd>]:NAME

DISPlay[:WINDow<Wnd>]:OVERview[:STATe]

DISPlay[:WINDow<Wnd>]:TITLe:DATA

DISPlay[:WINDow<Wnd>]:TITLe[:STATe]

DISPlay[:WINDow<Wnd>]:TRACe:EFEed

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:CATalog?

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:DELete

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:FEED

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:LABel:SHOW

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:SHOW

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:X:OFFSet

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y:OFFSet

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:AUTO

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:BOTTom

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:PDIVision

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:RLEVel

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:RPOSition

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:Y[:SCALe]:TOP

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:BOTTom

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:STARt

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:STOP

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM:TOP

DISPlay[:WINDow<Wnd>]:TRACe<WndTr>:ZOOM[:STATe]

DISPlay[:WINDow<Wnd>][:STATe]

FORMat:BORDer

FORMat:DEXPort:SOURce

FORMat[:DATA]

HCOPy:DESTination

HCOPy:DEVice:LANGuage

HCOPy:ITEM:ALL

HCOPy:ITEM:LOGO[:STATe]

HCOPy:ITEM:MLISt[:STATe]

HCOPy:ITEM:TIME[:STATe]

HCOPy:PAGE:COLor

HCOPy:PAGE:MARGin:BOTTom

HCOPy:PAGE:MARGin:LEFT

HCOPy:PAGE:MARGin:RIGHt

HCOPy:PAGE:MARGin:TOP

HCOPy:PAGE:ORIentation

HCOPy:PAGE:WINDow

HCOPy[:IMMediate]

INITiate:CONTinuous:ALL

INITiate:PIPelining:STATe

INITiate[:IMMediate]:ALL

INITiate<Ch>:CONTinuous

INITiate<Ch>[:IMMediate]:SCOPe

INITiate<Ch>[:IMMediate][:DUMMy]

INPut<PhyPt>:ATTenuation

INSTrument:NSELect

INSTrument:PORT:COUNt?

INSTrument:SMATrix

INSTrument:TPORt:COUNt?

INSTrument[:SELect]

MEMory:CATalog:COUNt?

MEMory:CATalog?

MEMory:DEFine

MEMory:DELete:ALL

MEMory:DELete[:NAME]

MEMory:SELect

MMEMory:AKAL:FACTory:CONVersion

MMEMory:AKAL:USER:CONVersion

MMEMory:CATalog:ALL?

MMEMory:CATalog?

MMEMory:CDIRectory

MMEMory:CKIT:INFO?

MMEMory:COPY

MMEMory:DATA

MMEMory:DELete

MMEMory:DELete:CORRection

MMEMory:FAVorite<FavId>

MMEMory:LOAD:CABLe

MMEMory:LOAD:CKIT

MMEMory:LOAD:CKIT:SDATa

MMEMory:LOAD:CKIT:SDATa:WLABel

MMEMory:LOAD:CKIT:UDIRectory

MMEMory:LOAD:CMAP

MMEMory:LOAD:CMAP:HCOPy

MMEMory:LOAD:CORRection

MMEMory:LOAD:CORRection:MERGe

MMEMory:LOAD:CORRection:RESolve

MMEMory:LOAD:CORRection:TCOefficient<Ch>

MMEMory:LOAD:EYE:BPATtern

MMEMory:LOAD:EYE:JITTer

MMEMory:LOAD:EYE:MASK

MMEMory:LOAD:LIMit

MMEMory:LOAD:RIPPle

MMEMory:LOAD:SEGMent

MMEMory:LOAD:STATe

MMEMory:LOAD:TRACe

MMEMory:LOAD:TRACe:AUTO

MMEMory:LOAD:VNETworks<Ch>:BALanced:DEEMbedding<LogPt>

MMEMory:LOAD:VNETworks<Ch>:BALanced:EMBedding<LogPt>

MMEMory:LOAD:VNETworks<Ch>:DIFFerential:EMBedding<LogPt>

MMEMory:LOAD:VNETworks<Ch>:GLOop:DEEMbedding<group>

MMEMory:LOAD:VNETworks<Ch>:GLOop:EMBedding<group>

MMEMory:LOAD:VNETworks<Ch>:PPAir:DEEMbedding<ListId>

MMEMory:LOAD:VNETworks<Ch>:PPAir:EMBedding<ListId>

MMEMory:LOAD:VNETworks<Ch>:SENDed:DEEMbedding<PhyPt>

MMEMory:LOAD:VNETworks<Ch>:SENDed:EMBedding<PhyPt>

MMEMory:MDIRectory

MMEMory:MOVE

MMEMory:MSIS

MMEMory:NAME

MMEMory:RDIRectory

MMEMory:SIMulation:DELete:ALL

MMEMory:SIMulation:SDATa<Idx>

MMEMory:SIMulation:SDATa<Idx>:DELete

MMEMory:SIMulation:SDATa<Idx>:LOAD

MMEMory:STORe:CABLe

MMEMory:STORe:CKIT

MMEMory:STORe:CKIT:WLABel

MMEMory:STORe:CMAP

MMEMory:STORe:CMAP:HCOPy

MMEMory:STORe:CORRection

MMEMory:STORe:CORRection:TCOefficient<Ch>

MMEMory:STORe:EYE:MASK

MMEMory:STORe:EYE:MASK:RESults

MMEMory:STORe:EYE:MEASurements

MMEMory:STORe:LIMit

MMEMory:STORe:MARKer

MMEMory:STORe:RIPPle

MMEMory:STORe:SEGMent

MMEMory:STORe:STATe

MMEMory:STORe:TRACe

MMEMory:STORe:TRACe:CHANnel

MMEMory:STORe:TRACe:OPTion:BALanced

MMEMory:STORe:TRACe:OPTion:COMMent

MMEMory:STORe:TRACe:OPTion:DECimals:DATA

MMEMory:STORe:TRACe:OPTion:DECimals:STIMulus

MMEMory:STORe:TRACe:OPTion:FORMat

MMEMory:STORe:TRACe:OPTion:PLUS

MMEMory:STORe:TRACe:OPTion:SSEParator

MMEMory:STORe:TRACe:OPTion:SYMMetric

MMEMory:STORe:TRACe:OPTion:TABS

MMEMory:STORe:TRACe:OPTion:TRIM

MMEMory:STORe:TRACe:PORTs

OUTPut:UPORt:ECBits

OUTPut:UPORt:KEEP

OUTPut<Ch>:UPORt:SEGMent<Seg>:STATe

OUTPut<Ch>:UPORt:SEGMent<Seg>[:VALue]

OUTPut<Ch>:UPORt[:VALue]

OUTPut<Ch>[:STATe]

OUTPut<Chn>:DPORt

PROGram[:SELected]:EXECute

PROGram[:SELected]:INIMessage

PROGram[:SELected]:INIParameter

PROGram[:SELected]:NAME

PROGram[:SELected]:RETVal?

PROGram[:SELected]:WAIT

SOURce:POWer:CORRection:COLLect:AVERage:NTOLerance

SOURce:POWer:CORRection:COLLect:AVERage[:COUNt]

SOURce:POWer:CORRection:COLLect:CFACtor

SOURce:POWer:CORRection:COLLect:FLATness

SOURce:POWer:CORRection:COLLect:METHod

SOURce:POWer:CORRection:COLLect:RRECeiver

SOURce:POWer:CORRection:NREadings

SOURce:POWer:CORRection:PMETer:ID

SOURce:POWer:CORRection:PPOWer

SOURce:POWer:CORRection:PSELect

SOURce:POWer:CORRection:TCOefficient:COUNt?

SOURce:POWer:CORRection:TCOefficient:DEFine<ListNo>

SOURce:POWer:CORRection:TCOefficient:DELete:ALL

SOURce:POWer:CORRection:TCOefficient:DELete<ListNo>[:DUMMy]

SOURce:POWer:CORRection:TCOefficient:FEED

SOURce:POWer:CORRection:TCOefficient:INSert<ListNo>

SOURce:POWer:CORRection:TCOefficient[:STATe]

SOURce:POWer:GENerator:SDELay

SOURce:POWer:REDuce:SDELay

SOURce:POWer:SWEepend:MODE

SOURce:POWer:SWEepend:SDELay

SOURce<Ch>:FREQuency:CONVersion:MIXer:PMFixed

SOURce<Ch>:FREQuency:CONVersion:MIXer:PMODe

SOURce<Ch>:FREQuency<PhyPt>:CONVersion:ARBitrary:EFRequency<Gen>

SOURce<Ch>:FREQuency<PhyPt>:CONVersion:ARBitrary:IFRequency

SOURce<Ch>:FREQuency<PhyPt>:FIXed

SOURce<Ch>:FREQuency<PhyPt>[:CW]

SOURce<Ch>:GROup:COUNt?

SOURce<Ch>:GROup<Grp>

SOURce<Ch>:GROup<Grp>:CLEar

SOURce<Ch>:GROup<Grp>:DPORt:COUNt

SOURce<Ch>:GROup<Grp>:NAME

SOURce<Ch>:GROup<Grp>:PORDer

SOURce<Ch>:GROup<Grp>:PORTs

SOURce<Ch>:GROup<Grp>:PPORt<PhyPort>:DPORt

SOURce<Ch>:GROup<Grp>:PPORts

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:CONDition?

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:MOFFset:BWFactor

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:MOFFset:DVALue

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:MOFFset:MODE

SOURce<Ch>:GROup<Grp>:SIMultaneous:FOFFset:STATe

SOURce<Ch>:LPORt<LogPt>

SOURce<Ch>:LPORt<LogPt>:CLEar

SOURce<Ch>:NFIGure:CALibration:APOWer

SOURce<Ch>:NFIGure:CALibration:PPOWer

SOURce<Ch>:NFIGure:CALibration:TPOWer

SOURce<Ch>:NFIGure:PLEVeling:DGAin

SOURce<Ch>:NFIGure:PLEVeling:DMAX

SOURce<Ch>:NFIGure:PLEVeling:FATTenuation

SOURce<Ch>:NFIGure:PLEVeling:LGAin

SOURce<Ch>:NFIGure:PLEVeling:RATTenuation

SOURce<Ch>:NFIGure:PLEVeling:RMAX

SOURce<Ch>:NFIGure:PLEVeling:SATTenuation

SOURce<Ch>:POWer:CORRection:DATA

SOURce<Ch>:POWer:CORRection:DATA:PARameter<Wv>?

SOURce<Ch>:POWer:CORRection:DATA:PORT<PhyPt>

SOURce<Ch>:POWer:CORRection:GENerator<Gen>[:STATe]

SOURce<Ch>:POWer:CORRection:IMODulation:PORT

SOURce<Ch>:POWer:CORRection:OSOurces[:STATe]

SOURce<Ch>:POWer:CORRection[:ACQuire]

SOURce<Ch>:POWer<PhyPt>:CORRection:COLLect[:ACQuire]

SOURce<Ch>:POWer<PhyPt>:CORRection:DATA:PARameter<Wv>:COUNt?

SOURce<Ch>:POWer<PhyPt>:CORRection:GENerator<Gen>:LEVel:OFFSet

SOURce<Ch>:POWer<PhyPt>:CORRection:IMODulation:LTONe[:ACQuire]

SOURce<Ch>:POWer<PhyPt>:CORRection:IMODulation:UTONe[:ACQuire]

SOURce<Ch>:POWer<PhyPt>:CORRection:LEVel:OFFSet

SOURce<Ch>:POWer<PhyPt>:CORRection:STATe

SOURce<Ch>:POWer<PhyPt>:CORRection:TCOefficient:CALibration

SOURce<Ch>:POWer<PhyPt>:CORRection[:ACQuire]:VERification:RESult?

SOURce<Ch>:POWer<PhyPt>:GENerator<Gen>:OFFSet

SOURce<Ch>:POWer<PhyPt>:GENerator<Gen>:PERManent[:STATe]

SOURce<Ch>:POWer<PhyPt>:GENerator<Gen>:STATe

SOURce<Ch>:POWer<PhyPt>:PERManent[:STATe]

SOURce<Ch>:POWer<PhyPt>:REDuce[:STATe]

SOURce<Ch>:POWer<PhyPt>:STARt

SOURce<Ch>:POWer<PhyPt>:STATe

SOURce<Ch>:POWer<PhyPt>:STOP

SOURce<Ch>:POWer<PhyPt>[:LEVel][:IMMediate]:OFFSet

SOURce<Ch>:POWer<PhyPt>[:LEVel][:IMMediate]:SLOPe

SOURce<Ch>:POWer<PhyPt>[:LEVel][:IMMediate][:AMPLitude]

STATus:PRESet

STATus:QUEStionable:CONDition?

STATus:QUEStionable:ENABle

STATus:QUEStionable:INTegrity:CONDition?

STATus:QUEStionable:INTegrity:ENABle

STATus:QUEStionable:INTegrity:HARDware:CONDition?

STATus:QUEStionable:INTegrity:HARDware:ENABle

STATus:QUEStionable:INTegrity:HARDware:NTRansition

STATus:QUEStionable:INTegrity:HARDware:PTRansition

STATus:QUEStionable:INTegrity:HARDware[:EVENt]?

STATus:QUEStionable:INTegrity:NTRansition

STATus:QUEStionable:INTegrity:PTRansition

STATus:QUEStionable:INTegrity[:EVENt]?

STATus:QUEStionable:LIMit<Lev>:CONDition?

STATus:QUEStionable:LIMit<Lev>:ENABle

STATus:QUEStionable:LIMit<Lev>:NTRansition

STATus:QUEStionable:LIMit<Lev>:PTRansition

STATus:QUEStionable:LIMit<Lev>[:EVENt]?

STATus:QUEStionable:NTRansition

STATus:QUEStionable:PTRansition

STATus:QUEStionable[:EVENt]?

STATus:QUEue[:NEXT]?

SYSTem:AGC:GLOBal:METHod

SYSTem:COMMunicate:AKAL:CONNection

SYSTem:COMMunicate:AKAL:MMEMory[:STATe]

SYSTem:COMMunicate:CODec

SYSTem:COMMunicate:GPIB[:SELF]:ADDRess

SYSTem:COMMunicate:GPIB[:SELF]:DCLear:SUPPress

SYSTem:COMMunicate:GPIB[:SELF]:INIT:WAIT

SYSTem:COMMunicate:GPIB[:SELF]:LPORt:ALIGn

SYSTem:COMMunicate:GPIB[:SELF]:RTERminator

SYSTem:COMMunicate:NET:HOSTname

SYSTem:COMMunicate:RDEVice:AKAL:ADDRess

SYSTem:COMMunicate:RDEVice:AKAL:ADDRess:ALL?

SYSTem:COMMunicate:RDEVice:AKAL:ADDRess:SUBModule:ALL?

SYSTem:COMMunicate:RDEVice:AKAL:CKIT

SYSTem:COMMunicate:RDEVice:AKAL:CKIT:CATalog?

SYSTem:COMMunicate:RDEVice:AKAL:CKIT:STANdard:CATalog?

SYSTem:COMMunicate:RDEVice:AKAL:DATE?

SYSTem:COMMunicate:RDEVice:AKAL:FRANge?

SYSTem:COMMunicate:RDEVice:AKAL:PORTs?

SYSTem:COMMunicate:RDEVice:AKAL:PREDuction[:STATe]

SYSTem:COMMunicate:RDEVice:AKAL:SDATa?

SYSTem:COMMunicate:RDEVice:AKAL:TEMPerature?

SYSTem:COMMunicate:RDEVice:AKAL:WARMup[:STATe]?

SYSTem:COMMunicate:RDEVice:GENerator:COUNt?

SYSTem:COMMunicate:RDEVice:GENerator:DELete

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:CATalog?

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:DEFine

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:SEPMode

SYSTem:COMMunicate:RDEVice:GENerator<Gen>:SEPower

SYSTem:COMMunicate:RDEVice:PMETer:CATalog?

SYSTem:COMMunicate:RDEVice:PMETer:CONFigure:AUTO[:STATe]

SYSTem:COMMunicate:RDEVice:PMETer:COUNt?

SYSTem:COMMunicate:RDEVice:PMETer:DELete

SYSTem:COMMunicate:RDEVice:PMETer<Pmtr>:AZERo

SYSTem:COMMunicate:RDEVice:PMETer<Pmtr>:DEFine

SYSTem:COMMunicate:RDEVice:PMETer<Pmtr>:SPCorrection[:STATe]

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:ABORt

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:END

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:STARt

SYSTem:COMMunicate:RDEVice:SMATrix:CONFigure:TVNA

SYSTem:COMMunicate:RDEVice:SMATrix:COUNt?

SYSTem:COMMunicate:RDEVice:SMATrix:DELete

SYSTem:COMMunicate:RDEVice:SMATrix:SCAN?

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CATalog?

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MLTest

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MLVNa

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MTESt

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:CONFigure:MVNA

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:DEFine

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:RELays:SWITch:COUNt?

SYSTem:COMMunicate:RDEVice:SMATrix<Matr>:SERial?

SYSTem:COMMunicate:REST:ENABle

SYSTem:COMMunicate:SNMP:COMMunity:RO

SYSTem:COMMunicate:SNMP:COMMunity:RW

SYSTem:COMMunicate:SNMP:CONTact

SYSTem:COMMunicate:SNMP:LOCation

SYSTem:COMMunicate:SNMP:USM:USER

SYSTem:COMMunicate:SNMP:USM:USER:ALL?

SYSTem:COMMunicate:SNMP:USM:USER:DELete

SYSTem:COMMunicate:SNMP:USM:USER:DELete:ALL

SYSTem:COMMunicate:SNMP:VERSion

SYSTem:CORRection:JOINcal

SYSTem:CORRection:WIZard[:IMMediate]

SYSTem:DATA:MEMory:ADD

SYSTem:DATA:MEMory:CATalog?

SYSTem:DATA:MEMory:COMMit

SYSTem:DATA:MEMory:DELete

SYSTem:DATA:MEMory:INITalize

SYSTem:DATA:MEMory:OFFSet?

SYSTem:DATA:MEMory:RESet

SYSTem:DATA:MEMory:SIZE?

SYSTem:DATE

SYSTem:DFPRint?

SYSTem:DISPlay:BAR:HKEY[:STATe]

SYSTem:DISPlay:BAR:MENU[:STATe]

SYSTem:DISPlay:BAR:STATus[:STATe]

SYSTem:DISPlay:BAR:STOols[:STATe]

SYSTem:DISPlay:BAR:TITLe[:STATe]

SYSTem:DISPlay:BAR:TOOLs[:STATe]

SYSTem:DISPlay:COLor

SYSTem:DISPlay:CONDuctances

SYSTem:DISPlay:DIALogs:SETup:MCAL[:STATe]

SYSTem:DISPlay:TRACes:CCOunt

SYSTem:DISPlay:UPDate

SYSTem:DISPlay:XLABels

SYSTem:ERRor:ALL?

SYSTem:ERRor:COUNt?

SYSTem:ERRor:DISPlay:ERRor

SYSTem:ERRor:DISPlay:INFO

SYSTem:ERRor:DISPlay:STATe

SYSTem:ERRor:DISPlay:WARNings

SYSTem:ERRor:DISPlay[:REMote]

SYSTem:ERRor[:NEXT]?

SYSTem:FIRMware:UPDate

SYSTem:FORMat:IDENtify

SYSTem:FPReset

SYSTem:FREQuency?

SYSTem:HELP:HEADers?

SYSTem:HELP:SYNTax:ALL?

SYSTem:HELP:SYNTax?

SYSTem:IDENtify:FACTory

SYSTem:IDENtify[:STRing]

SYSTem:INFO:CONTrast

SYSTem:KLOCk

SYSTem:LANGuage

SYSTem:LOGGing:REMote[:STATe]

SYSTem:OPCHeck:PLEVel:PORT<Port>?

SYSTem:OPCHeck:SELFtest?

SYSTem:OPTions:FACTory

SYSTem:OPTions[:STRing]

SYSTem:PASSword[:CENable]

SYSTem:PRESet:REMote[:STATe]

SYSTem:PRESet:SCOPe

SYSTem:PRESet:STARt

SYSTem:PRESet:USER:CAL

SYSTem:PRESet:USER:NAME

SYSTem:PRESet:USER[:STATe]

SYSTem:PRESet[:DUMMy]

SYSTem:SETTings:UPDate

SYSTem:SHUTdown

SYSTem:SMATrix:OPTimization

SYSTem:SOUNd:ALARm[:STATe]

SYSTem:SOUNd:STATus[:STATe]

SYSTem:TIME

SYSTem:TRESet[:STATe]

SYSTem:TSLock

SYSTem:TTLout<Pt>:STATus[:STATe]

SYSTem:USER:DISPlay:TITLe

SYSTem:USER:KEY

SYSTem:VERSion?

TRACe:CLEar

TRACe:COPY

TRACe:COPY:MATH

TRACe[:DATA]:STIMulus[:ALL]?

TRACe[:DATA][:RESPonse][:ALL]?

TRIGger:CHANnel<Ch>:AUXiliary:DURation

TRIGger:CHANnel<Ch>:AUXiliary:INTerval

TRIGger:CHANnel<Ch>:AUXiliary:OPOLarity

TRIGger:CHANnel<Ch>:AUXiliary:POSition

TRIGger:CHANnel<Ch>:AUXiliary[:ENABle]

TRIGger<Ch>[:SEQuence]:HOLDoff

TRIGger<Ch>[:SEQuence]:LINK

TRIGger<Ch>[:SEQuence]:MULTiple:HOLDoff

TRIGger<Ch>[:SEQuence]:MULTiple:SLOPe<Num>

TRIGger<Ch>[:SEQuence]:MULTiple:SOURce

TRIGger<Ch>[:SEQuence]:SLOPe

TRIGger<Ch>[:SEQuence]:SOURce